# CPCPCM5014 Design sewer infrastructure systems

Release: 2

CPCPCM5014 Design sewer infrastructure systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 5.4. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM5014A Design sewer infrastructure systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to design and document sewer infrastructure systems for residential development of 50 properties. This includes specifying responsibilities, procedures and safety standards for sewerage equipment, construction, soil classification, pipe laying techniques and trench construction. The unit also covers analysing factors relating to pumping and tunnelling and supervising the installation of a sewer infrastructure system.

This unit covers requirements for competent workplace performance in a consultancy or supervisory capacity in relation to plumbing services and hydraulics.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare and implement sewer contracts. | 1.1 | Identify and apply main utility sewer design and sizing procedures. |
|  |  | 1.2 | Document required qualifications, roles and responsibilities of local authority personnel and contracted parties qualified to install sewers. |
| 2 | Plan and detail system components. | 2.1 | Analyse soil classification, characteristics and types from test results. |
|  |  | 2.2 | Detail trenching safety procedures, specifying backfilling and compaction methods. |
|  |  | 2.3 | Plan layout of pipework systems, including the type and location of fittings, valves and controls. |
|  |  | 2.4 | Specify pipe laying, dewatering and testing procedures for installation of pipework of varying sizes. |
|  |  | 2.5 | Calculate self-cleaning velocities, pipe size and grade, and ventilation requirements for a range of systems. |
|  |  | 2.6 | Detail sewer connections, access chambers, bedding material and support systems. |
|  |  | 2.7 | Determine size and detail requirements for pump station, pumps, controls and equipment. |
|  |  | 2.8 | Specify approved materials, jointing methods and installation requirements for sewer infrastructure systems. |
|  |  | 2.9 | Identify maintenance procedures of the system. |
| 3 | Evaluate design parameters. | 3.1 | Establish scope of work for sewer infrastructure systems. |
|  |  | 3.2 | Determine design requirements from relevant Australian standards, codes, plans, specifications and client brief. |
|  |  | 3.3 | Conduct cost–benefit analysis comparing a range of pipe materials and system design. |
|  |  | 3.4 | Analyse and apply statutory and regulatory requirements and relevant Australian Standards and codes for the design of sewer infrastructure systems. |
|  |  | 3.5 | Obtain trade and technical manuals and interpret manufacturer requirements. |
|  |  | 3.6 | Conduct additional research, including a desktop study to outline design parameters. |
|  |  | 3.7 | Determine factors that contribute to quality, safety and time efficiency. |
|  |  | 3.8 | Determine point of connection to the authority’s system. |
|  |  | 3.9 | Specify safety procedures and regulations for trench safety and for pumping stations and establish performance requirements. |
|  |  | 3.10 | Assess pipe sizes using equivalent population (EP) density. |
| 4 | Design and size systems. | 4.1 | Identify easements and location for sewer infrastructure systems, including pumping rising mains. |
|  |  | 4.2 | Design sewer infrastructure systems for a range of applications. |
|  |  | 4.3 | Design and detail sewer long sections. |
|  |  | 4.4 | Design pump rising main systems. |
|  |  | 4.5 | Design pumping stations. |
|  |  | 4.6 | Apply computer software packages to design and size sewer infrastructure system. |
|  |  | 4.7 | Determine and design ventilation requirements. |
|  |  | 4.8 | Apply sustainability principles and concepts throughout the design process. |
| 5 | Prepare documentation. | 5.1 | Prepare client brief of the desired design. |
|  |  | 5.2 | Prepare plans and specification for a range of sewer infrastructure systems. |
|  |  | 5.3 | Prepare testing and commissioning schedule. |
|  |  | 5.4 | Produce operation and maintenance manual, including information on how to properly and safely maintain the system. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPCM5014A Design sewer infrastructure systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPCM5014 Design sewer infrastructure systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 5.4. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM5014A Design sewer infrastructure systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the installation and layout details for a sewer infrastructure system for a residential development of 50 properties, incorporating a gravity system and pumping station, to include:

sewer reticulation mains

pump station

pump rising main

ventilation

odour control

evaluating and documenting design parameters to relevant Australian standards and codes, and regulatory, client and manufacturer requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

common terminology and definitions used in the design of sewer infrastructure systems

application of statutory and regulatory requirements and relevant Australian standards and codes:

Acts, regulations and Commonwealth, state or territory and local government policies

AS/NZS 3500 National plumbing and drainage

AS 2200 Design charts for water supply and sewerage

Environmental Protection Authority (EPA)

National Construction Code (NCC)

Sewerage Code of Australia

other relevant Australian standards and codes

utility provider’s design standards -e.g. Water Corporation (WA), Urban Utilities (QLD)

scope of work requirements:

interpreting plans and specifications

sizing and documenting layout sewer infrastructure system

design requirements:

architectural plans

builder specifications

fire safety requirements

owner requirements

pipework identification

flow requirements and sizing of pipework

ventilation requirements

cost–benefit analysis comparing the range of suitable materials and system choices available to enable cost-effective choices without compromising the integrity of the project

nature of materials used and effects of performance under various conditions:

cast iron

concrete

vitrified clay pipes (VCP)

polyethylene (PE)

polypropylene (PP)

unplasticised polyvinyl chloride (uPVC)

other approved materials

manufacturer requirements:

material specifications

collection and storage systems

design and installation

equipment installation

pump installation

technical manuals

trench safety procedures:

conditions affecting trench stability

condition of soils disturbed by previous excavations

effect of water on excavations

effects of moisture content on excavated trenches

traffic and vibrations

confined space safety requirements e.g. for exhaust emissions

prevention of trench collapse

trench collapse procedures

trench collapse inspection procedures

trench excavation methods used for different:

backfilling methods

bedding methods

depth

•	slope

support systems

types

safety procedures with reference to:

advisory standards

compliance standards

industry standards

Work Health and Safety Act

other acts, codes or regulations relating to trenching

working in confined spaces

layout of pipework systems:

gravity

pumped and rising mains

vacuum

identification of easements and location for sewer infrastructure systems, including pumping rising mains

layout requirements to:

not unduly affect building integrity and aesthetic appeal

apply principles of economy, serviceability, durability and fitness for use

characteristics and application of different fittings, valves and controls:

fittings

bends

flanges

junctions

inspection openings

unions

valves non-return and isolation

controls

level

alarms

management communication systems

pipelaying procedures:

cutting, handling and storage procedures

fittings used for sewerage work

jointing methods and procedures

laying procedures for pipework

methods of dewatering trenches

methods of grading and maintaining pipe direction and reduced levels

methods of placing bedding materials, encasing pipes, backfilling and compacting

methods of testing sewer drains

methods of pressure testing pump rising mains

processes for calculating pipe size, pipe grade and ventilation requirement:

determination of flow and loadings

gradient calculations

equivalent population (EP) density

interpretation of design charts and tables

pipe sizing calculations

projected flows

pumping flow rates

reduced level calculations

self-cleaning pipe velocities

stormwater infiltration

system ventilation

access chamber details:

access

benching

connections

covers

flow and gradient

open and closed channel

sizing

pump station, pumps, controls and equipment requirements:

access covers

access ladders

automatic controls

capacity

corrosion-resistant materials

emergency storage and power supply

impeller sizing and selection

inlet and outlet design

installation and mounting

odour control

macerator requirements

management communication system

provision for servicing

pump selection

pump well sizing

space requirements

valves

ventilation

warning system

characteristics and application of different jointing methods

installation requirements:

bedding

pipe protection

cover

corrosion

impact

level of workmanship

manufacturer-recommended specific fixings

pipe support

provision for pipe movement

serviceability and access

rising main systems:

approved pressure pipe and fittings

calculated rise and pump delivery requirements

environmental protection

pump sizing to meet calculated flow conditions

self-cleaning pipe velocities

odour control

the use and limitations of computer software packages including manufacture and proprietary design software

plans and specifications requirements:

axonometric

cross-sections

details

elevations

isometrics

schematics

site

sections

specifications

bedding

commissioning

excavation requirements

support

concrete support and detailing specialised components

jointing

access chambers (manholes)

manufacturer requirements

materials

piping

pumps

pumping stations

WHS

testing

workmanship

testing methods:

air pressure

drainage inspection

hydrostatic

performance

compliance with authorities’ discharge requirements

quality assurance (QA) audit

commissioning schedule requirements:

system certification

check for foreign material

containment

leak check

operational

pumping

system defects

system functions as per design

ventilation

odour control

WHS compliance

operation and maintenance manual requirements:

as installed drawings

certification documentation

emergency procedures

results of commissioning test

maintenance schedules

manufacturer brochures and technical information

odour control

WHS requirements

ventilation

sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage/capital outlay comparison

consideration of the Green Building Council of Australia rating scheme

principles of technology in the design of sewer infrastructure systems.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad