# Assessment Requirements for CPCPDR2021 Locate and clear blockages

Release: 2

Assessment Requirements for CPCPDR2021 Locate and clear blockages

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Elements and Performance Criteria 1.2 and 3.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPDR2021A Locate and clear blockages. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

using a closed-circuit television (CCTV) camera to locate the cause of the blockage in drainage pipework

using a mechanical method to clear blockage in drainage pipework.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

characteristics of different pipes and fittings.

different types of tools and equipment, their application and method of operation:

manually operated drain cleaning, including plungers and rods

mechanically operated drain clearing machines and attachments

CCTV

pipe locating equipment

chemical applications for cleaning

processes for clearing blockages

how to access relevant drainage layout information for the job

work health and safety (WHS) requirements for locating and clearing blockages.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad