# CPCPDR2021 Locate and clear blockages

Release: 2

CPCPDR2021 Locate and clear blockages

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Elements and Performance Criteria 1.2 and 3.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPDR2021A Locate and clear blockages. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to locate and clear blockages in sanitary plumbing and drainage systems, using a range of equipment, including closed-circuit television (CCTV).

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work. | 1.1 | Determine location of blockage and clearing requirements. |
|  |  | 1.2 | Identify and apply workplace, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Select appropriate tools and equipment, including personal protective equipment (PPE). |
| 2 | Locate and clear blockage. | 2.1 | Identify pipe section containing blockage using closed-circuit television (CCTV), as appropriate. |
|  |  | 2.2 | Select and use appropriate blockage clearing equipment according to the job requirements and manufacturer’s requirements. |
|  |  | 2.3 | Remove blockage without causing damage to pipework and fittings. |
|  |  | 2.4 | Flush and test system to ensure adequate operation. |
| 3 | Clean up. | 3.1 | Clear the work area and dispose of materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 3.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPDR2021A Locate and clear blockages.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad