# CPCPDR2025 Install stormwater and sub-soil drainage systems and drain work site

Release: 2

CPCPDR2025 Install stormwater and sub-soil drainage systems and drain work site

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 4.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPDR2024A Install stormwater and sub-soil drainage systems, and CPCPDR2025A Drain work site. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to install stormwater and sub-soil drainage systems to an approved point of discharge.

It includes the operation of pumps to temporarily or permanently drain a work site of unscreened roof water, sub-soil water and surface water.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan the work. | 1.1 | Access, read and determine stormwater and drainage requirements from relevant job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select and check serviceability of appropriate tools and equipment, including personal protective equipment (PPE). |
| 3 | Install storm water and sub-soil drainage. | 3.1 | Locate and set out position of stormwater and drainage and determine levels and gradients from set points. |
|  |  | 3.2 | Excavate trench to specified depth and width and grade using manual or mechanical means. |
|  |  | 3.3 | Measure, cut and install pipework to align with connection points. |
|  |  | 3.4 | Conduct a pressure test on the stormwater installation. |
|  |  | 3.5 | Fit covers and inspection openings. |
| 4 | Drain worksite. | 4.1 | Position and construct sediment controls to meet environmental requirements. |
|  |  | 4.2 | Install submersible pump in a sump or well with inlet and discharge point to the specified location and levels. |
| 5 | Clean up. | 5.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 5.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is not equivalent to CPCPDR2024A Install stormwater and sub-soil drainage systems, and CPCPDR2025A Drain work site.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad