# Assessment Requirements for CPCPDR2026 Install prefabricated inspection openings and inspection chambers

Release: 2

Assessment Requirements for CPCPDR2026 Install prefabricated inspection openings and inspection chambers

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 3.2. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPDR2026A Install prefabricated inspection openings and enclosures. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing an approved prefabricated concrete or polymer inspection opening or chamber of a minimum depth of 500 mm, including the connection of the inlet and outlet pipes below ground on a minimum of one stormwater and one sanitary drainage application.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

characteristics and application of pipe fittings and jointing techniques

processes for installing prefabricated inspection openings and chambers

characteristics, uses and limitations of concrete or polymer prefabricated inspection openings and chambers and other approved materials

how to access relevant information, including relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements

tools, materials and equipment used for installing prefabricated inspection openings and inspection chambers

work health and safety (WHS) requirements for installing prefabricated inspection openings and inspection chambers.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad