# CPCPDR3023 Install on-site domestic wastewater treatment plants and disposal systems

Release: 2

CPCPDR3023 Install on-site domestic wastewater treatment plants and disposal systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Knowledge Evidence. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPDR2022A Install domestic treatment plants, and CPCPDR3023A Install on-site disposal systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to install an approved prefabricated wastewater treatment plant and on-site effluent disposal.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare the work. | 1.1 | Access, read and determine treatment plant and disposal system type installation requirements from relevant job plans and specifications, codes Australian standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Create a materials list and collect materials. |
|  |  | 1.4 | Select and check serviceability of appropriate tools and equipment including personal protective equipment (PPE). |
| 2 | Install treatment plant and disposal system. | 2.1 | Set out and excavate site to required depth. |
|  |  | 2.2 | Prepare the excavated base for installation. |
|  |  | 2.3 | Install a treatment plant and on-site disposal system. |
| 3 | Clean up. | 3.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 3.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is not equivalent to CPCPDR2022A Install domestic treatment plants, and CPCPDR3023A Install on-site disposal systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad