# Assessment Requirements for CPCPDR3025 Plan layout and install vacuum drainage systems

Release: 1

Assessment Requirements for CPCPDR3025 Plan layout and install vacuum drainage systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

preparing an as constructed drawing to jurisdictional requirements

planning and installing a vacuum drainage system with a minimum drain length of 3 metres vertical and 5 metres horizontal to connect a:

vacuum water closet (VWC) pan

buffer, both gravity drainage inlet and vacuum waste outlet

vacuum automatic interface unit (VAIU)

vacuum main pipeline to a vacuum station

cutting in a branch to an existing drain connecting a new VWC pan and another buffer

joining two branches together

fabricating a vacuum reforming pocket both open and closed.

All installations must comply with and support fixings of pipe works.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

terminology relating to the installation of below- and above-ground vacuum drainage systems

principles of vacuum drainage design, working drawings conventions, symbols and abbreviations

trench support where applicable

inspection openings

approved materials, their characteristics and application for the installation of below- and above-ground vacuum drainage systems

processes, procedures and techniques for the installation of below- and above-ground vacuum drainage systems, including testing

how to access relevant information, including codes and standards

tools, materials and equipment used to plan the layout and installation of below- and above-ground vacuum drainage systems

work health and safety (WHS) requirements for planning the layout and installation of below- and above-ground vacuum drainage systems.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad