# CPCPDR4011 Design and size sanitary drainage systems

Release: 2

CPCPDR4011 Design and size sanitary drainage systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPDR4011B Design and size sanitary drainage systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to design, size and document the layout of sanitary drainage systems for residential and commercial unit developments.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify system requirements. | 1.1 | Access, read and determine design requirements from plans, specifications, relevant manufacturer’s requirements, Australian standards and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Determine fixtures, quantity, location and legal points of discharge. |
| 2 | Design and size system layout. | 2.1 | Develop and size system layout in accordance with relevant manufacturer’s requirements, Australian standards and jurisdictional requirements. |
|  |  | 2.2 | Use the proposed design to identify and specify optimal materials required. |
|  |  | 2.3 | Produce final system layout plans to relevant drawing design standards. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPDR4011B Design and size sanitary drainage systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPDR4011 Design and size sanitary drainage systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPDR4011B Design and size sanitary drainage systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the layout details of a sanitary drainage system to an approved point of connection for:

a residential design that comprises at least eight dwellings (Class 1a), incorporating at least the following in each:

bath

two showers

three WCs

three basins

floor waste gullies

kitchen sink

laundry tub

clothes washing machine

a commercial design that comprises at least one water/oil separator

one commercial kitchen connecting to an approved trade waste facility and incorporating at least:

one commercial dishwasher

one commercial pot wash facility

one commercial glasswasher

bucket trap floor waste gullies

basin

a disabled bathroom incorporating a WC and basin

three WCs across separate male and female toilet areas

four basins across separate male and female toilet areas

urinal

completing design, sizing and documentation to meet regulatory requirements and client specifications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

processes to apply for trade waste installations

characteristics and application of different pipe systems, including their fittings

drawing instruments and sketching techniques, including the use of conventional symbols

use of computers for documentation

computer-aided design (CAD) software

impact of venting on design

contour, reduced and invert levels

process of treating trade waste to acceptable levels for discharge

non-gravitational sewage systems

properties and characteristics of trade waste applications:

grease arrestors

acid neutralisers

dry basket arrestors

oily water separators

how to access relevant information, including codes and standards

tools, materials and equipment used to design, size and document the layout of sanitary drainage systems

work health and safety (WHS) requirements for designing, sizing and documenting the layout of sanitary drainage systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad