# CPCPFS2022 Install portable fire equipment

Release: 2

CPCPFS2022 Install portable fire equipment

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element 2.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS2022A Install portable fire equipment. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to install and commission (excluding internal components inspections) of portable fire extinguishers, fire blankets and signage on new or existing, domestic or commercial structures.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan the work. | 1.1 | Access, read and determine portable fire equipment requirements from relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Identify extinguishing agents, weight and materials. |
|  |  | 1.4 | Calculate and order materials and portable fire equipment. |
|  |  | 1.5 | Determine priorities and plan and sequence tasks with others on site. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Check portable fire equipment against relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements, delivery docket and order form and report faults, as appropriate. |
|  |  | 2.3 | Select and check the serviceability of appropriate tools, equipment and personal protective equipment (PPE). |
|  |  | 2.4 | Prepare work area to support efficient installation of portable fire equipment. |
| 3 | Install portable fire equipment. | 3.1 | Set out installation location ensuring it is free of obstruction. |
|  |  | 3.2 | Perform installation of supports, fixings and signage. |
|  |  | 3.3 | Perform installation and verify working order of portable fire equipment. |
|  |  | 3.4 | Commission installation according to yearly requirement of AS 1851 Routine service of fire protection systems and equipment. |
|  |  | 3.5 | Complete installation or service report and submit within specified timeframes. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS2022A Install portable fire equipment.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad