# CPCPFS3030 Design fire sprinkler systems using pre-calculated charts and tables

Release: 3

CPCPFS3030 Design fire sprinkler systems using pre-calculated charts and tables

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Performance Criteria and Knowledge Evidence. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Evidence formatted for clarity. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3030A Design pre-calculated fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to design fire sprinkler systems using pre-calculated tables and charts.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work. | 1.1 | Obtain scope of work requirements from information and quality requirements, including relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Set up work area to enable sprinkler system to be designed efficiently. |
| 2 | Identify design requirements. | 2.1 | Obtain data from relevant job specifications required to prepare design. |
|  |  | 2.2 | Identify building classification and hazard ratings that apply to the fire sprinkler system being designed. |
|  |  | 2.3 | Identify ceiling type and constructions material. |
|  |  | 2.4 | Identify all features of that building that might obstruct the spray pattern of the sprinkler, i.e. bulkheads, beams, columns, etc. |
|  |  | 2.5 | Identify sprinkler head type from relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 2.6 | Identify the requirement for concealed space sprinklers. |
|  |  | 2.7 | Water supply needs are established and graphs are drawn for the automatic fire sprinkler system. |
| 3 | Design sprinkler system. | 3.1 | Identify and locate the control valves. |
|  |  | 3.2 | Lay out sprinkler locations according to AS 2118.1 Automatic fire sprinkler systems – General systems and manufacturer data sheets. |
|  |  | 3.3 | Lay out the range and distribution pipework in an economical manner. |
|  |  | 3.4 | Determine the most remote last range type. |
|  |  | 3.5 | Locate the design points. |
|  |  | 3.6 | Size all range pipes in the installation using the pre-calculated tables. |
|  |  | 3.7 | Size the distribution pipework up to the design point using the pre-calculated tables. |
|  |  | 3.8 | Size the distribution pipework from the design point to the control valve using hydraulic calculations. |
|  |  | 3.9 | Prepare fabrication design sheets and material lists. |
| 4 | Finalise work. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Apply workplace recording and reporting procedures where required. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS3030A Design pre-calculated fire sprinkler systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad