# Assessment Requirements for CPCPFS3031 Fabricate and install fire hydrant and hose reel systems

Release: 2

Assessment Requirements for CPCPFS3031 Fabricate and install fire hydrant and hose reel systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Supersedes and is equivalent to CPCPFS3031A Fabricate and install fire hydrant and hose reel systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing and performing hydrostatic testing of a fire hydrant and a hose reel system to the relevant codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements from an existing branch in a water supply using approved materials that contains:

a fire brigade booster and suction arrangement

a fire hydrant landing valve

a fire hose reel in copper

a fire hose reel in galvanised mild steel.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

processes, procedures and techniques of:

fabricating and installing fire hydrant and hose reel systems

pressure testing systems

pipe thread sealing methods

pipe jointing, involving:

threading

roll grooving

silver soldering

compression unions

press fit and flanges

characteristics, application and limitations of approved materials and components used in fire hydrant and hose reel systems, above and below ground

functional and operational features of tools and equipment used to install fire hydrant and hose reel systems

fire brigade suction and booster arrangements

feed and attack hydrants

backflow prevention associated with fire hydrant and hose reels

statutory and regulatory authorities:

Commonwealth, state or territory governments, local authorities

Codes and Australian Standards for location and installation of fire hydrants and hose reels

how to access relevant information, including job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements

tools, materials and equipment used for the installation and testing fire hydrants and hose reel systems

work health and safety (WHS) requirements for installing and testing fire hydrants and hose reel systems

installation requirements for fire hydrants and hose reel systems, above and below ground.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad