# CPCPFS3034 Install control valve assemblies, actuating devices and local alarms

Release: 2

CPCPFS3034 Install control valve assemblies, actuating devices and local alarms

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 1.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3034A Install control valve assemblies, actuating devices and local alarms. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to install control valve assemblies, actuating devices and local alarms for fire protection systems in commercial, industrial and residential settings, including new or existing structures.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Obtain, read and apply control valve devices and alarm requirements from relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedure, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select and check the serviceability of appropriate tools and equipment, including personal protective equipment (PPE). |
|  |  | 2.3 | Prepare work area to support efficient installation. |
| 3 | Install and test system components. | 3.1 | Set out and install pipe supports and fixings. |
|  |  | 3.2 | Connect control valve assemblies, components, devices, alarms, piping and materials. |
|  |  | 3.3 | Apply jointing systems. |
|  |  | 3.4 | Pressure test installed system. |
|  |  | 3.5 | Set and confirm operation of all components, including alarm generation. |
|  |  | 3.6 | Complete documentation according to relevant regulatory requirements. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability reporting any damage, store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS3034A Install control valve assemblies, actuating devices and local alarms.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad