# Assessment Requirements for CPCPFS3036 Install special hazard systems

Release: 3

Assessment Requirements for CPCPFS3036 Install special hazard systems

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Sprinkler and delivery systems removed from the Knowledge Evidence. The word ‘purging’ replaced by ‘cleaning’ in the Knowledge Evidence. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Elements and Performance Criteria 2.3. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3036A Install special hazard systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing a special hazards fire suppression system (not prescribed ozone depleting substances (ODS) or synthetic greenhouse gases (SGG) extinguishing agent), incorporating a storage cylinder connected by piping to a simple distribution system incorporating two nozzles and one actuating device

complying with ODS or SGG legislation, codes and regulations

decommissioning a gaseous system comprising of at least three cylinders and prepare the cylinders for transport

correctly selecting and using tools and equipment used for installation of gaseous agent containers and actuation devices.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

ODS and SGG legislative and industry requirements for special hazard fire suppression systems installation activities

characteristics, application and limitations of approved materials and components used in special hazardous systems actuating devices:

prescribed ODS and SGG materials

extinguishing agents, including or other approved materials

pipes

hazard categories, classes of fire hazard and extinguishing agents

workplace and safety including dangerous goods

transportation of dangerous goods

processes, procedures and techniques of:

installing and testing special hazard systems

pressure test systems

cylinder anchorage

cleaning

relevant statutory and authorities’ requirements related to installing special hazard systems:

requirements for room ventilation and integrity

structural systems, building materials and building services

functional and operational features of tools and equipment used to install special hazard systems:

cutting and threading equipment

roll grooving equipment

hand and power tools

ladders

testing equipment

types of special hazard extinguishing systems:

carbon dioxide - high and low pressure

naturally occurring blended gasses (Proinert, Argonite, Inergen)

chemical reaction and explosion suppression systems

dry chemical

foam

prescribed ODS and SGG extinguishing agents

deluge

water mist

types of operation of actuation devices (also known as actuators):

electrical

manual

mechanical

pneumatic

special hazard system components, including:

directional valves

lock off valves

pyrotech actuators

nozzles

manifolds

hoses

cylinders

cylinder manifold brackets

pressure relief vents

dirt traps

bracketing and pipe supports

foam generators

foam monitors

foam proportioning equipment

foam indicators

aspirating foam nozzles

foam storage vessels, including bladder tanks

relevant documentation required when installing special hazard systems

how to access relevant information, including relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements for installation of special hazard systems

tools, materials and equipment used for installation of special hazard systems

work health and safety (WHS) requirements for installation of special hazard systems

installation requirements for installation of special hazard systems.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad