# CPCPFS3036 Install special hazard systems

Release: 3

CPCPFS3036 Install special hazard systems

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Sprinkler and delivery systems removed from the Knowledge Evidence. The word ‘purging’ replaced by ‘cleaning’ in the Knowledge Evidence. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Elements and Performance Criteria 2.3. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3036A Install special hazard systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to install special hazard extinguishing systems, including decommissioning gaseous agent containers and actuation devices.

All technicians performing work described in this unit that involves the handling of prescribed ozone depleting substances (ODS) and synthetic greenhouse gases (SGG) extinguishing agents must hold an appropriate extinguishing agent handling licence (EAHL).

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Obtain, read and apply special hazard systems requirements from relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, organisational work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect components. |
|  |  | 2.2 | Select and check the serviceability of appropriate tools and equipment including personal protective equipment (PPE). |
|  |  | 2.3 | Prepare work area to support efficient installation of special hazard extinguishing systems. |
| 3 | Decommission gaseous agent containers and actuation devices. | 3.1 | Confirm and isolate all interface systems and put in place appropriate signage, lock-off and documentation. |
|  |  | 3.2 | Physically disconnect manual, electrical and mechanical actuation devices. |
|  |  | 3.3 | Identify and disconnect pneumatic actuation devices and pilot and slave tubes and fittings. |
|  |  | 3.4 | Connect transport caps on all outlets, plugs and locking devices, according to manufacturer’s specifications. |
|  |  | 3.5 | Disconnect container bank manifold connection components. |
|  |  | 3.6 | Install transport caps on valve outlets. |
|  |  | 3.7 | Organise removal and transportation of gaseous agent containers to storage or reclaim facility. |
|  |  | 3.8 | Complete documentation and decommissioning sign-off requirements and confirm with relevant persons. |
| 4 | Install and test special hazard systems. | 4.1 | Set out system and install fixings. |
|  |  | 4.2 | Check pipe supports and install pipes, fittings, nozzles and components. |
|  |  | 4.3 | Perform piping system pressure testing. |
|  |  | 4.4 | Connect cylinder manifold and cylinder hoses. |
|  |  | 4.5 | Connect cylinder supports and cylinders and secure in brackets. |
|  |  | 4.6 | Remove transport caps and connect cylinder hoses. |
|  |  | 4.7 | Connect actuators. |
|  |  | 4.8 | Complete documentation according to relevant regulatory requirements. |
| 5 | Clean up. | 5.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 5.2 | Clean tools and equipment, check for serviceability, and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS3036A Install special hazard systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPFS3036 Install special hazard systems

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Sprinkler and delivery systems removed from the Knowledge Evidence. The word ‘purging’ replaced by ‘cleaning’ in the Knowledge Evidence. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Elements and Performance Criteria 2.3. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3036A Install special hazard systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing a special hazards fire suppression system (not prescribed ozone depleting substances (ODS) or synthetic greenhouse gases (SGG) extinguishing agent), incorporating a storage cylinder connected by piping to a simple distribution system incorporating two nozzles and one actuating device

complying with ODS or SGG legislation, codes and regulations

decommissioning a gaseous system comprising of at least three cylinders and prepare the cylinders for transport

correctly selecting and using tools and equipment used for installation of gaseous agent containers and actuation devices.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

ODS and SGG legislative and industry requirements for special hazard fire suppression systems installation activities

characteristics, application and limitations of approved materials and components used in special hazardous systems actuating devices:

prescribed ODS and SGG materials

extinguishing agents, including or other approved materials

pipes

hazard categories, classes of fire hazard and extinguishing agents

workplace and safety including dangerous goods

transportation of dangerous goods

processes, procedures and techniques of:

installing and testing special hazard systems

pressure test systems

cylinder anchorage

cleaning

relevant statutory and authorities’ requirements related to installing special hazard systems:

requirements for room ventilation and integrity

structural systems, building materials and building services

functional and operational features of tools and equipment used to install special hazard systems:

cutting and threading equipment

roll grooving equipment

hand and power tools

ladders

testing equipment

types of special hazard extinguishing systems:

carbon dioxide - high and low pressure

naturally occurring blended gasses (Proinert, Argonite, Inergen)

chemical reaction and explosion suppression systems

dry chemical

foam

prescribed ODS and SGG extinguishing agents

deluge

water mist

types of operation of actuation devices (also known as actuators):

electrical

manual

mechanical

pneumatic

special hazard system components, including:

directional valves

lock off valves

pyrotech actuators

nozzles

manifolds

hoses

cylinders

cylinder manifold brackets

pressure relief vents

dirt traps

bracketing and pipe supports

foam generators

foam monitors

foam proportioning equipment

foam indicators

aspirating foam nozzles

foam storage vessels, including bladder tanks

relevant documentation required when installing special hazard systems

how to access relevant information, including relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements for installation of special hazard systems

tools, materials and equipment used for installation of special hazard systems

work health and safety (WHS) requirements for installation of special hazard systems

installation requirements for installation of special hazard systems.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad