# CPCPFS3037 Install residential life safety sprinkler systems

Release: 2

CPCPFS3037 Install residential life safety sprinkler systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Performance Evidence. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3037A Install domestic and residential life safety sprinkler systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to install residential life safety fire sprinkler systems.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Obtain, read and apply residential sprinkler systems requirements from relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select and check the serviceability of appropriate tools and equipment including personal protective equipment (PPE). |
|  |  | 2.3 | Prepare work area. |
| 3 | Install and test system components. | 3.1 | Set out system and apply fixings. |
|  |  | 3.2 | Connect assemblies, devices, alarms, piping and materials. |
|  |  | 3.3 | Apply jointing systems to components |
|  |  | 3.4 | Install relevant fire sprinkler heads according to plans and specifications. |
|  |  | 3.5 | Undertake a hydrostatic pressure-test to ensure integrity of pipework. |
|  |  | 3.6 | Record test data in required format. |
|  |  | 3.7 | Complete documentation according to relevant regulatory requirements. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability, report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS3037A Install domestic and residential life safety sprinkler systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPFS3037 Install residential life safety sprinkler systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Performance Evidence. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3037A Install domestic and residential life safety sprinkler systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

given the floor plan of a residential building of at least five (5) rooms correctly locating the sprinkler heads according to relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements

installing and testing a residential life safety sprinkler system in Class 2 and 3 buildings not more than 25 metres in effective height with a rise up to 4 storeys, using plans and specifications, incorporating fit off to:

one sprinkler head in steel pipe

one sprinkler head in chlorinated polyvinyl chloride (CPVC) piping

one sprinkler head in copper pipe

These must include:

water supply

piping and pipe supports

control valves assembly

actuating devices

alarms

three sprinkler heads

remote test point.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

legislation, regulations, codes and standards relating to installing fire sprinkler system

workplace and safety requirements

sustainability concepts and principles and environmental requirements relating to water and resource usage

processes, procedure and techniques of:

installation and testing of residential fire sprinkler systems

applying fire ratings

hydraulic testing

pipe jointing including hemps, Teflon tape and CPVC solvent

roll grooving

brazing

press fits (copper)

functional and operational features of tools and equipment used to install life safety fire sprinkler systems

structural systems, building materials and building services of buildings and structures that require life safety fire sprinkler systems

operation and function of the following components:

residential sprinkler heads

flow switches

check valves

remote test points

concealed space sprinkler heads

waste, test and drain valves

pipe supports

characteristics, application and limitations of materials, including:

steel and CPVC pipe used in residential sprinkler systems

manufacturers’ specifications and their purpose in fire sprinkler system installation

how to access relevant information, including job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements.

tools, materials and equipment used for installing residential life safety sprinkler systems

work health and safety (WHS) requirements for installing residential life safety sprinkler systems

installation requirements for residential life safety sprinkler systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad