# CPCPFS3038 Test and maintain fire hydrant and hose reel installations

Release: 3

CPCPFS3038 Test and maintain fire hydrant and hose reel installations

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. PC2.1 Identify and calculate materials required to complete the task. PC2.2 Identify potential hazards and determine and implement control measures and personal protective equipment (PPE) requirements. PC2.3 Determine job priorities and sequence job tasks in consultation with others on site. The PCs have been repositioned to be consistent with the related CPCPFS sector units of competency. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3038A Test and maintain fire hydrant and hose reel installations. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to conduct routine service, maintain and repair fire hydrant and hose reel installations, in accordance with AS 1851 Routine inspection of fire protection systems and equipment. It excludes fire pump performance and booster connection flow testing. It applies to people who work on new or existing structures in commercial and residential settings.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan the work. | 1.1 | Access, read and apply fire hydrant and hose reel requirements relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply organisational work health and safety (WHS), including sign in, environmental requirements. |
| 2 | Prepare for work. | 2.1 | Identify and calculate materials required to complete the task. |
|  |  | 2.2 | Identify potential hazards and determine and implement control measures and personal protective equipment (PPE) requirements. |
|  |  | 2.3 | Determine job priorities and sequence job tasks in consultation with others on site. |
|  |  | 2.4 | Select and check serviceability of appropriate tools, equipment and PPE. |
|  |  | 2.5 | Receive and check materials against the docket and order form for correct product, compliance with standards and acceptable condition and action discrepancies. |
|  |  | 2.6 | Apply AS 1851 Routine service of fire protection systems and equipment (Section 1) and routine service requirements for fire hydrant and hose reel installation. |
|  |  | 2.7 | Confirm correct location of fire protection systems and equipment in accordance with AS 2419 Fire hydrant installations system design, installation and commissioning. |
| 3 | Test, repair and replace faulty components and perform systems checks. | 3.1 | Isolate system interfaces. |
|  |  | 3.2 | Carry out routine service up to five yearly frequency and maintenance tasks as detailed in AS 1851 Routine service of fire protection systems and equipment. |
|  |  | 3.3 | Identify faulty items or components and choose appropriate service procedure. |
|  |  | 3.4 | Remove faulty items or components, using appropriate tools and equipment and rectify. |
|  |  | 3.5 | Complete documentation according to workplace procedures and submit within specified timeframes. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS3038A Test and maintain fire hydrant and hose reel installations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPFS3038 Test and maintain fire hydrant and hose reel installations

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. PC2.1 Identify and calculate materials required to complete the task. PC2.2 Identify potential hazards and determine and implement control measures and personal protective equipment (PPE) requirements. PC2.3 Determine job priorities and sequence job tasks in consultation with others on site. The PCs have been repositioned to be consistent with the related CPCPFS sector units of competency. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3038A Test and maintain fire hydrant and hose reel installations. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

conducting routine testing and maintenance up to five yearly frequency, excluding fire pump performance and booster connection flow testing on two different fire hydrants and hose reel installations

diagnosing a critical defect and non-conformance and:

report as per AS 1851 Routine service of fire protection systems and equipment requirement

repair each defect and non-conformance

conduct testing to ensure rectification is effective

reinstate installations and complete a service report

replacing all serviceable components as per preventative maintenance requirements of AS 1851 Routine service of fire protection systems and equipment on:

three hydrant valves

two hose reels

replacing one faulty hose reel drum

setting a pressure reducing valve according to relevant specifications

performing system interfaces isolation of fire detection control and indicating equipment (FDCIE) and fire pumpsets

confirming correct location of hydrants, attack and feed hydrant and hose reels in accordance with AS 2419 Fire hydrant installations system design, installation and commissioning from a site or plan of 2000 square metres.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

responsibilities relating to quality requirements for testing and maintaining fire hydrants and hose reel installations:

documentation and information systems and processes

policies and guidelines relating to work roles and responsibilities

workplace reporting

operational knowledge of hydrant and hose reel systems

purpose, function and maintenance requirements of the following components in hydrant and hose reel systems:

hydrant valves

hose reels

check valves

booster assemblies

gate valves

gauges

pipework

hydrant cabinets

booster cabinets

hose reel cabinets

hydrant and hose reel signage

isolation valves

pipe supports

anti-tamper switches

pump start initiating devices

block plans

processes, procedures and techniques of:

testing and maintaining fire hydrant and hose reel installations

system interfaces with hydrants and hose reels

water flow testing of hydrants and hose reels

how to access relevant information, including job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements.to test and maintain fire hydrant and hose reel installations

tools, materials and equipment used to test and maintain fire hydrant and hose reel installations

work health and safety (WHS) requirements for performing tests and conducting fire hydrant and hose reel installations.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad