# CPCPFS3042 Conduct annual routine service of complex water-based fire-suppression systems

Release: 2

CPCPFS3042 Conduct annual routine service of complex water-based fire-suppression systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 1.3, 2.1, and 2.2. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3042A Conduct annual functional testing of complex water-based fire-suppression systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to conduct annual routine service procedures to verify that complex water-based fire-suppression system equipment functions as designed for a Class 2-9 building greater than 5000 square metres.

It includes isolating systems to visually inspect and identify non-compliance defects and resetting systems.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan the work. | 1.1 | Determine and apply annual routine service operations requirements from AS 1851 Routine service of fire protection systems and equipment (section 1) and appropriate legislative and industry codes. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Arrange and confirm appropriate time for conducting the annual routine service with the site contact. |
|  |  | 1.4 | Select and check tools, equipment and personal protective equipment (PPE) for serviceability and report any faults. |
| 2 | Conduct inspections and record results. | 2.1 | Confirm attendance on site with site contact and follow workplace and organisational procedures for signing in. |
|  |  | 2.2 | Follow site procedures for notifying occupants and/or staff of annual routine service. |
|  |  | 2.3 | Isolate control and indicating equipment (CIE), system interfaces and other plant according to site requirements. |
|  |  | 2.4 | Apply appropriate workplace procedures and risk control measures when inspecting water-based fire-suppression systems. |
|  |  | 2.5 | Identify key control valves and determine their functions regarding installation drawings to conduct routine inspection and tests. |
|  |  | 2.6 | Identify all defects and non-conformances and report according to AS 1851 Routine service of fire protection systems and equipment requirements. |
|  |  | 2.7 | Perform and record visual inspections on complex components. |
|  |  | 2.8 | Perform visual installation and design survey inspections. |
|  |  | 2.9 | Prepare installation and design survey report. |
| 3 | Conduct full function test on water-based components only. | 3.1 | Confirm appropriate time to conduct full function test with client and discuss the process and shutdowns likely to occur during test. |
|  |  | 3.2 | Confirm coordination of other trades and technicians required to conduct full function test. |
|  |  | 3.3 | Determine from system interface diagram the interfaced system required to operate. |
|  |  | 3.4 | Isolate alarm signalling equipment. |
|  |  | 3.5 | Perform annual testing according to AS 1851 Routine service of fire protection systems and equipment requirements. |
|  |  | 3.6 | Conduct test and confirm operation of all required water-based fire protection system according to the system interface diagram. |
|  |  | 3.7 | Reinstate systems. |
|  |  | 3.8 | Identify and document all defects and non-conformances and report according to AS 1851 Routine service of fire protection systems and equipment requirements. |
|  |  | 3.9 | Prepare and forward to persons for action. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability reporting any damage, store and secure according to workplace procedures. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS3042A Conduct annual functional testing of complex water-based fire-suppression systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad