# CPCPFS3044 Install distribution and range pipes

Release: 2

CPCPFS3044 Install distribution and range pipes

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5 Amended Performance Criteria 3.2. Amended Knowledge Evidence. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3044A Install distribution and range pipes. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to install distribution and range pipes to carry all commonly used fire extinguishing agents, above and below ground. The installation may involve a new system or an alteration (extension or modification) to an existing system.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Obtain, read and determine distribution and range pipes requirements from relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select and check the serviceability of appropriate tools and equipment, including personal protective equipment (PPE). |
|  |  | 2.3 | Prepare work area to support efficient installation of distribution and range pipes. |
| 3 | Install piping system. | 3.1 | Set out pipework and install pipe supports and fixings. |
|  |  | 3.2 | Piping and materials are installed according to design drawings, job specifications and standards. |
|  |  | 3.3 | Attach mechanical jointing systems. |
|  |  | 3.4 | Isolate and drain down system prior to installing pipework to avoid water damage when altering existing systems. |
|  |  | 3.5 | Reinstate after completing works for water tightness. |
|  |  | 3.6 | Complete documentation and submit within required timeframes. |
| 4 | Clean up. | 4.1 | Clear the work area and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS3044A Install distribution and range pipes.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPFS3044 Install distribution and range pipes

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5 Amended Performance Criteria 3.2. Amended Knowledge Evidence. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3044A Install distribution and range pipes. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing distribution and range pipes in both:

a new automated fire sprinkler system

an existing automated fire sprinkler system, incorporating two rolled grooves, three threaded joins, one mechanical Tee and one barrel union

providing a free-flowing and leak-free water supply to at least three branches of new and an existing system

installing a range to feed two sprinkler heads using a mechanical Tee and support all pipework according to AS 2118 Automatic fire sprinkler systems

relocating two sprinklers in an existing system, including draining down the system.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

legislation, regulations, standards and codes

processes, procedures and techniques of:

installing distribution and range pipes

fixing and joining of pipes

levelling and alignment

roll grooving

applications of sustainability concepts and principles relating to plumbing, encompassing water and resource usage

materials storage and environmentally responsible waste disposal relating to distribution and range pipe installation

general fire protection systems terminology

functional and operational features of tools and equipment used to install distribution and range pipes:

threading machines

roll grooving machines

roll grooving measuring devices

ladders

pipe wrenches

steel pipe

roll grooved and threaded fittings and valves

elevated work platform (EWP)

sockets

impact drills

threaded rod cutters

hammers and punches

identification of incorrect roll grooving

characteristics, application and limitation of approved materials and components:

pipe fittings and fixture supports

how to access relevant information including job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements

tools, materials and equipment used for installing distribution and range pipes

work health and safety (WHS) requirements for installing distribution and range pipes

installation requirements for installing distribution, pipework and range pipes.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad