# Assessment Requirements for CPCPFS3046 Test the integrity of water-based fire protection systems using pressure

Release: 2

Assessment Requirements for CPCPFS3046 Test the integrity of water-based fire protection systems using pressure

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3046A Test the integrity of water-based fire protection systems using pressure. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

testing the integrity of water-based fire protection systems:

one water pressure test on a fire sprinkler system

one water pressure test on a fire hydrant system.

Note:  Tests may be conducted during installation or maintenance of jobs.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

legislation, regulations, standards and codes relating to pressure testing water-based fire protection systems:

policies, procedures and environmental requirements and sustainability principles relating to pressure testing water-based fire protection systems

functional and operational features of tools and equipment used in pressure testing water-based fire protection systems

safety requirements when using compressed air

processes, procedures and techniques of:

testing water-based fire protection systems

characteristics, application and limitations of approve materials and components:

sprinkler heads

roll groove and threaded joints

steel pipe

chlorinated polyvinyl chloride (CPVC) pipe

non-ferrous pipe

alarm valves

ball valves

gate valves

butterfly valves

waste and test valves

flexible droppers

fire hydrant valves

booster and suction arrangements

check valves

materials storage and environmentally responsible waste disposal relating to pressure testing water-based fire protection systems

how to access relevant information including, job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements.

tools, materials and equipment used for testing the integrity of water-based fire protection systems

work health and safety (WHS) requirements for testing the integrity of water-based fire protection systems.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad