# CPCPFS3046 Test the integrity of water-based fire protection systems using pressure

Release: 2

CPCPFS3046 Test the integrity of water-based fire protection systems using pressure

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3046A Test the integrity of water-based fire protection systems using pressure. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to test the integrity of water-based fire protection systems using pressure.

It includes performing water pressure testing on fire safety sprinkler and hydrant systems to establish the integrity of the water-based system or to identify and rectify leaks.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan the work. | 1.1 | Obtain, read and apply water-based fire protection systems requirements from relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Identify materials and components and calculate quantities. |
| 2 | Prepare for work. | 2.1 | Check material and components for conformity and action any discrepancies. |
|  |  | 2.2 | Select and check serviceability of tools, equipment and personal protective equipment (PPE) and rectify or report any faults. |
|  |  | 2.3 | Prepare work area to efficiently test fire protection system. |
|  |  | 2.4 | Determine the type of test to be performed and prepare appropriate testing equipment. |
| 3 | Test fire protection systems. | 3.1 | Connect air test equipment to system using pressure test not exceeding 50KPa. |
|  |  | 3.2 | Connect water test equipment and conduct hydrostatic test according to relevant codes and Australian Standard. |
|  |  | 3.3 | Record readings from each pressure gauge in format determined by job specifications and quality assurance requirements. |
|  |  | 3.4 | Isolate water supply and open all water outlets to drain down system. |
|  |  | 3.5 | Recharge and restore system to operational condition. |
|  |  | 3.6 | Complete documentation and submit within required timeframe. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS3046A Test the integrity of water-based fire protection systems using pressure.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad