# Assessment Requirements for CPCPFS4021 Commission domestic and residential fire suppression sprinkler systems

Release: 1

Assessment Requirements for CPCPFS4021 Commission domestic and residential fire suppression sprinkler systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4021A Commission domestic and residential fire suppression sprinkler systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To determine competency in this unit a candidate must meet the performance criteria for this unit by:

commissioning and testing a fire suppression sprinkler system for a domestic and residential fire suppression sprinkler systems in buildings up to four storeys in height containing communal catering and residential quarters and a fire suppression sprinkler system for a domestic residence containing a minimum of two rooms

correctly interpreting plans and specifications to complete work to the specified standard within accepted timeframes

complying with appropriate legislation, organisational processes and regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

components and materials of fire suppression sprinkler systems including:

actuating devices

alarms

control valve assemblies

piping

sprinkler heads

unplasticised polyvinyl chloride (uPVC), steel or copper pipes and other approved materials

job safety analysis (JSA) and safe work method statements (SWMS)

National Fire Protection Association (NFPA) and Factory Mutual performance-based codes of practice

pressure test systems and procedures

process of installing, testing and commissioning domestic and residential fire suppression sprinkler systems

processes for accessing information and for calculating material requirements

properties of water, including pressure and flow rates

SI system of measurements

safe work practices relating to testing and commissioning domestic and residential fire suppression sprinkler systems including:

hazard control

personal protective equipment (PPE) prescribed under legislation, regulations and workplace policies and practices

handling of materials

personal protective clothing and equipment prescribed under legislation, regulations and workplace policies and practices

environmental requirements including:

water quality management

clean-up protection

stormwater protection

waste management

quality assurance information including:

Australian standards

Environment Protection Authority (EPA)

internal company quality assurance policy and risk management strategy

International Standards Organisation (ISO)

site safety plan

workplace operations and procedures

tools and equipment including:

hand and power tools

test equipment

sustainability principles and concepts including efficient:

water usage

harvesting

disposal

planning and site information including:

charts and hand drawings

instructions issued by authorised organisational or external personnel

job drawings and specifications

manufacturer specifications and instructions

safety data sheets (SDS)

organisation work specifications and requirements

work schedules, plans and specifications

spoken, written and graphical instructions

regulatory and legislative requirements, particularly those pertaining to:

building codes

work health and safety (WHS) and environmental requirements

plumbing regulations

relevant Australian standards, including AS 2118.1 Automatic fire sprinkler systems

signage

local authorities’ requirements.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad