# CPCPFS4021 Commission domestic and residential fire suppression sprinkler systems

Release: 1

CPCPFS4021 Commission domestic and residential fire suppression sprinkler systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4021A Commission domestic and residential fire suppression sprinkler systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to test and commission domestic and residential fire suppression sprinkler systems in buildings up to four storeys in height containing communal catering and residential quarters.

It covers preparation for the work, identification and confirmation of system specifications and requirements, physical testing and commissioning of the systems, and work finalisation processes including records and documentation.

The role may involve interaction with architects, builders, suppliers and relevant planning authorities and requires a sound understanding of applicable legislation including work health and safety (WHS).

Site locations for work application are domestic and residential and may be a new work site or an existing structure, including minimum of a communal catering and living area and multiple residential quarters (or equivalent), and a fire suppression sprinkler system for a domestic residence containing a minimum of two rooms.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work. | 1.1 | Obtain current approved plans and specifications. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Apply quality assurance requirements to comply with internal and external policies, procedures, standards and authorities. |
|  |  | 1.4 | Consult with associated persons to plan and sequence tasks. |
|  |  | 1.5 | Select and check the serviceability of appropriate tools, equipment and personal protective equipment (PPE). |
|  |  | 1.6 | Prepare work area to support effective commissioning process. |
| 2 | Identify system requirements. | 2.1 | Identify and confirm system design requirements using job specifications, authorities’ requirements and standards. |
|  |  | 2.2 | Identify commissioning requirements using job specifications, authorities’ requirements and standards. |
| 3 | Test and commission system. | 3.1 | Check sprinkler systems to ensure type and installation conform to standards, job specifications, manufacturer recommendations and authorities’ requirements. |
|  |  | 3.2 | Test system operation and adjust as required to meet all requirements and specifications. |
|  |  | 3.3 | Commission and maintain system to ensure correct operation according to standards, and manufacturer and job specifications. |
| 4 | Clean up work area. | 4.1 | Clear the work area of materials and dispose of, reuse or recycle materials according to legislation, regulations, environmental codes of practice and job specifications. |
|  |  | 4.2 | Clean tools and equipment check for damage and malfunction and store according to manufacturer recommendations and workplace procedures. |
|  |  | 4.3 | Access information to complete documentation according to workplace requirements and submit within specified timeframes, including all required information. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS4021A Commission domestic and residential fire suppression sprinkler systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPFS4021 Commission domestic and residential fire suppression sprinkler systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4021A Commission domestic and residential fire suppression sprinkler systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To determine competency in this unit a candidate must meet the performance criteria for this unit by:

commissioning and testing a fire suppression sprinkler system for a domestic and residential fire suppression sprinkler systems in buildings up to four storeys in height containing communal catering and residential quarters and a fire suppression sprinkler system for a domestic residence containing a minimum of two rooms

correctly interpreting plans and specifications to complete work to the specified standard within accepted timeframes

complying with appropriate legislation, organisational processes and regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

components and materials of fire suppression sprinkler systems including:

actuating devices

alarms

control valve assemblies

piping

sprinkler heads

unplasticised polyvinyl chloride (uPVC), steel or copper pipes and other approved materials

job safety analysis (JSA) and safe work method statements (SWMS)

National Fire Protection Association (NFPA) and Factory Mutual performance-based codes of practice

pressure test systems and procedures

process of installing, testing and commissioning domestic and residential fire suppression sprinkler systems

processes for accessing information and for calculating material requirements

properties of water, including pressure and flow rates

SI system of measurements

safe work practices relating to testing and commissioning domestic and residential fire suppression sprinkler systems including:

hazard control

personal protective equipment (PPE) prescribed under legislation, regulations and workplace policies and practices

handling of materials

personal protective clothing and equipment prescribed under legislation, regulations and workplace policies and practices

environmental requirements including:

water quality management

clean-up protection

stormwater protection

waste management

quality assurance information including:

Australian standards

Environment Protection Authority (EPA)

internal company quality assurance policy and risk management strategy

International Standards Organisation (ISO)

site safety plan

workplace operations and procedures

tools and equipment including:

hand and power tools

test equipment

sustainability principles and concepts including efficient:

water usage

harvesting

disposal

planning and site information including:

charts and hand drawings

instructions issued by authorised organisational or external personnel

job drawings and specifications

manufacturer specifications and instructions

safety data sheets (SDS)

organisation work specifications and requirements

work schedules, plans and specifications

spoken, written and graphical instructions

regulatory and legislative requirements, particularly those pertaining to:

building codes

work health and safety (WHS) and environmental requirements

plumbing regulations

relevant Australian standards, including AS 2118.1 Automatic fire sprinkler systems

signage

local authorities’ requirements.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad