# CPCPFS4022 Commission and maintain special hazard fire suppression systems

Release: 2

CPCPFS4022 Commission and maintain special hazard fire suppression systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Foundation Skills. Typographical error corrected in Elements and Performance Criteria 4.2. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4022A Commission and maintain special hazard fire suppression systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to test, commission and maintain special hazard fire suppression systems.

It covers preparation for the work, identification and confirmation of system specifications and requirements, physical testing and commissioning of the systems, and conduct of systems maintenance and work finalisation processes, including records and documentation.

Site location for work application may be either domestic or residential and may be a new work site or an existing structure being renovated, extended, restored or maintained.

This unit is suitable for those using specialised knowledge to complete routine and non-routine tasks and using their own judgement to deal with predictable and sometimes unpredictable problems.

All technicians performing work described in this unit that involves the handling of prescribed ozone depleting substances (ODS) and synthetic greenhouse gases (SGG) extinguishing agents must hold an appropriate extinguishing agent handling licence (EAHL).

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work | 1.1 | Obtain plans and specifications. |
|  |  | 1.2 | Apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Identify and adhere to quality assurance requirements to according to workplace requirements. |
|  |  | 1.4 | Commission, inspect, test and maintain ozone depleting substances (ODS) and synthetic greenhouse gases (SGG) legislative and industry requirements to activities for special hazard fire suppression systems. |
|  |  | 1.5 | Plan and sequence tasks in conjunction with others involved in or affected by the work. |
|  |  | 1.6 | Select and check tools, equipment and materials for serviceability prior to commissioning and maintaining special hazard fire suppression systems, including personal protective equipment. |
|  |  | 1.7 | Prepare work area to support efficient commissioning process. |
| 2 | Identify system requirements. | 2.1 | Identify and confirm service design requirements from job specifications and are according to standards. |
|  |  | 2.2 | Identify testing and commissioning requirements of special hazard fire suppression systems according to standards, authorities’ requirements and job specifications. |
| 3 | Test and commission system. | 3.1 | Check special hazard fire suppression systems to ensure type and installation conform to standards, job specifications, manufacturer recommendations and authorities’ requirements. |
|  |  | 3.2 | Test operation of system according to job specifications, manufacturer recommendations and authorities’ requirements, including ODS and SGG legislative requirements, and is adjusted as required. |
|  |  | 3.3 | Commission system to ensure correct operation according to standards, and manufacturer and job specifications. |
| 4 | Maintain system. | 4.1 | Identify service and maintenance requirements from manufacturer specifications or authorities’ requirements. |
|  |  | 4.2 | Check and fit replacement components periodically and as required according to specifications. |
|  |  | 4.3 | Conduct maintenance and repair of system observing maintenance schedule described in current Australian standard, and manufacturer and/or authorities’ requirements, including ODS and SGG legislative requirements. |
|  |  | 4.4 | Observe sustainability principles and concepts when preparing for and undertaking work process. |
| 5 | Clean up work area. | 5.1 | Clear work area and dispose of reused or recycled materials, according to legislation, regulations, codes of practice and job specification. |
|  |  | 5.2 | Clean, check, maintain and store tools and equipment according to manufacturer recommendations and workplace procedures. |
|  |  | 5.3 | Access information and complete documentation according to workplace requirements. |

# Foundation Skills

A person demonstrating competency in this unit must have the following language, literacy, numeracy and employment skills:

technical skills to test, commission and maintain a special hazard protection system consisting of an extinguishing agent, piping, actuating devices and sprinkler delivery

technology skills to:

access and understand site-specific instructions in a variety of media

use mobile communication technology.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS4022A Commission and maintain special hazard fire suppression systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPFS4022 Commission and maintain special hazard fire suppression systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Foundation Skills. Typographical error corrected in Elements and Performance Criteria 4.2. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4022A Commission and maintain special hazard fire suppression systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

locating, interpreting and applying relevant information, standards and specifications to testing and commissioning special hazard fire suppression systems

applying safety requirements throughout the work sequence, including electrical safety requirements and the use of personal protective clothing and equipment

testing and commissioning one special hazard fire suppression system (not prescribed ODS or SGG extinguishing agent), being a gaseous, chemical or fluid-based system; and inspect, test and maintain one prescribed ODS or SGG system, ensuring:

application of sustainability principles and concepts

correct identification of location, design specification and details of proposed service

correct selection and use of appropriate processes, tools and equipment

completion of all work to specification

compliance with regulations, standards and organisational quality procedures and processes

communicating and working effectively and safely with others.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

work health and safety are to be according to commonwealth, state and territory legislation and regulations:

handling of materials

hazard control

personal protective clothing and equipment prescribed under legislation, regulations and workplace policies and practices

safe operating procedures, including recognising and preventing hazards associated with:

electricity

hazardous materials and substances

other machines

surrounding structures and facilities

trip hazards

underground services

use of tools and equipment

work site visitors and the public

working at heights

working in confined spaces

working in proximity to others

use of firefighting equipment

use of first aid equipment

workplace environment and safety

environmental requirements cover water quality management:

clean-up protection

complying with ODS and SGG legislation, codes and regulations, e.g. Ozone Protection and Synthetic Greenhouse Gas Management Act 1989

preventing emissions of prescribed ODS and SGG extinguishing agents

stormwater protection

waste management

materials:

actuating devices

alarms

control valve assemblies

unplasticised polyvinyl chloride (PVC-U), steel or copper pipes or other approved materials

special hazard fire suppression agents, including prescribed ODS and SGG materials

sprinkler heads

special hazard fire suppression systems:

carbon dioxide and other gases (such as inergen and argonite)

chemical reaction and explosion suppression systems

dry chemical

foam

prescribed ODS and SGG extinguishing agents (such as halon and NAF S-III)

water

water mist

information:

charts and hand drawings

instructions issued by authorised organisational or external personnel

job drawings

manufacturer specifications and instructions

material safety data sheets (MSDS)

memos

organisation work specifications and requirements

plans and sketches

regulatory and legislative requirements, particularly those pertaining to:

building codes

WHS and environmental requirements, including ODS and SGG legislation, codes and regulations

plumbing regulations

relevant Australian standards, including AS2118 Automatic fire sprinkler systems and AS1851 Maintenance of fire protection systems and equipment

safe work procedures relating to testing and commissioning special hazard fire suppression systems

signage

verbal, written and graphical instructions

work bulletins

work schedules, plans and specifications.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad