# CPCPFS4023 Commission fire system pumpsets

Release: 1

CPCPFS4023 Commission fire system pumpsets

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4023A Commission fire system pumpsets. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to test and commission a fire system pumpset.

It covers preparation for the work, identification and confirmation of system specifications and requirements, physical testing and commissioning of systems, and finalisation of work processes, including the completion of records and documentation.

The role may involve interaction with architects, builders, suppliers and relevant planning authorities and requires a sound understanding of applicable standards and legislation including work health and safety (WHS).

This unit’s requirements may be carried out by experienced tradespersons such as hydraulic design consultants, plumbers or plumbing contractors who employ a team of plumbers.

Site location for work application may be either domestic or residential and may be a new work site or an existing structure.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work. | 1.1 | Obtain current approved plans and specifications. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental instructions. |
|  |  | 1.3 | Apply quality assurance requirements to comply with internal and external policies, procedures, standards and authorities. |
|  |  | 1.4 | Consult with others to plan and sequence tasks. |
|  |  | 1.5 | Select and check the serviceability of appropriate tools, equipment and personal protective equipment (PPE). |
|  |  | 1.6 | Prepare work area to support effective commissioning process. |
| 2 | Identify system requirements. | 2.1 | Identify and confirm system design requirements from job specifications according to standards. |
|  |  | 2.2 | Identify testing and commissioning requirements of fire system pumpset according to standards, authorities‘ requirements and job specifications. |
| 3 | Test and commission system. | 3.1 | Check fire system pumpset and pump controls to ensure type and installation conform to standards, job specifications, manufacturer recommendations and authorities’ requirements. |
|  |  | 3.2 | Test operation of pumpset according to job specifications, manufacturer recommendations and authorities’ requirements and adjust as required. |
|  |  | 3.3 | Commission pumpset to ensure correct operation according to standards and manufacturer and job specifications. |
| 4 | Clean up work area. | 4.1 | Clear the work area of materials and dispose of, reuse or recycle materials according to legislation, regulations, environmental codes of practice and job specifications. |
|  |  | 4.2 | Clean tools and equipment, check for damage and malfunction and store according to manufacturer recommendations and workplace procedures. |
|  |  | 4.3 | Access information to complete documentation according to workplace requirements and submit within specified timeframes. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS4023A Commission fire system pumpsets.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPFS4023 Commission fire system pumpsets

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4023A Commission fire system pumpsets. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

testing and commissioning one fire system pumpset, and

interpreting plans and specifications correctly to complete work to the specified standard within accepted timeframes

complying with appropriate legislation, organisational processes and regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

job safety analysis (JSA) and safe work method statements (SWMS)

National Fire Protection Association (NFPA) and Factory Mutual performance-based codes of practice

performance measures for fire system pumpsets

process to install, test and commission fire system pumpsets

processes for accessing information and for calculating material requirements

types of fire system pumpsets including:

centrifugal

close coupled, long coupled with mechanical joints or belt driven by an electric or petrol and diesel motor

multi-stage turbine

positive displacement

submersible and electric and compression ignition driven pumps

pump controls including:

automatic, including float, level, flow or pressure switches

manual

properties of water including:

pressure

flow rates

atmospheric pressure

test systems, equipment and procedures

SI system of measurements

work health and safety practices relating to testing and commissioning fire system pumpsets including:

handling of materials

hazard control

personal protective clothing and equipment

working with electricity

hazardous materials and substances

use of first aid equipment

workplace environment and safety

environmental requirements including:

water quality management

clean-up protection

stormwater protection

waste management

sustainability principles and concept including:

efficient energy use

disposing of waste material to ensure minimal environmental impact

selecting appropriate components to ensure minimal environmental impact

quality assurance requirements including:

Environment Protection Authority (EPA)

internal company quality assurance policy and risk management strategy and workplace operations and procedures

International Standards Organisation (ISO)

tools and equipment including:

hand and power tools

test equipment

planning and site information including:

Australian building and plumbing codes specifically performance requirements for fire system pumpsets

standards applicable to installing and commissioning fire system pumpsets including AS2941 Fixed fire protection installations - Pumpset systems and AS2118 .1 Automatic fire sprinkler systems

charts, hand drawings, plans and sketches

instructions issued by authorised organisational or external personnel

manufacturer specifications and instructions

safety data sheets (SDS)

organisation work specifications and requirements

WHS and environmental requirements

plumbing regulations

signage

work schedules, plans and specifications.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad