# Assessment Requirements for CPCPFS4024 Design residential fire sprinkler systems

Release: 2

Assessment Requirements for CPCPFS4024 Design residential fire sprinkler systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Pre-requisite unit. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4024A Design residential and domestic fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

using hydraulic calculations to design a fire sprinkler system for a residential complex containing a minimum of a communal catering and living area and multiple residential quarters (or equivalent) and also a fire sprinkler system for a domestic residence containing a minimum of two rooms.

In doing so the person must:

correctly interpret plans and specifications to complete work to the specified standard within accepted timeframes

comply with appropriate legislation, organisational processes and regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

calculating and measuring techniques and their application:

SI system of measurements

calculating material requirements

components and materials of fire suppression sprinkler systems and their operating characteristics:

actuating devices

alarms

control valve assemblies

piping

sprinkler heads

process and design techniques, materials and technology:

calculators

design data

design tables

drawing and drafting equipment

reference materials

computers running appropriate computer-aided design (CAD) software

drafting materials

plans

job safety analysis (JSA) and safe work method statements (SWMSs)

accessing and using information:

charts and hand drawings

instructions issued by authorised organisational or external personnel

job drawings

manufacturer specifications and instructions

organisation work specifications and requirements

plans and sketches signage

verbal, written and graphical instructions

work bulletins

work schedules, plans and specifications

regulatory and legislative requirements

properties of water including pressure and flow rates

work health and safety (WHS) related to designing residential and domestic fire sprinkler systems

environmental requirements and sustainability principles

quality assurance requirements.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad