# Assessment Requirements for CPCPFS4025 Commission fire alarm and detection system interface devices

Release: 2

Assessment Requirements for CPCPFS4025 Commission fire alarm and detection system interface devices

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4025A Commission fire alarm and detection system interface devices. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

commissioning a fire alarm and detection system interface device, including a pressure switch and a flow switch, plus an actuator and a control and indicating panel and in doing so:

correctly interpret plans and specifications to complete work to the specified standard within accepted timeframes

comply with appropriate legislation, organisational processes and regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

components and materials of fire alarm and detection system interface devices including:

pressure switches

flow switches

actuators

solenoids

valve monitoring devices

verifying interface device operations, including:

alarm volume

annunciators

audible, visible and combination alarms

controls

coordination of alarm signals with other services

dispatching systems

public reporting systems

signal transmission

tactile alarm appliances for people with disabilities

zone alarms

correct location and setting of interface devices to meet system design standards

difference between extra low voltage and low voltage system interface wiring connection

job safety analysis (JSA) and safe work method statements (SWMS)

process of installing, testing and commissioning fire alarm and detection system interface devices

systems operations and procedures

properties of water including pressure and flow rates

relevant statutory requirements related to commissioning fire alarm and detection system interface devices including:

automatic smoke and heat venting systems

air handling systems

emergency warning and intercommunication systems

statutory and regulatory authorities including:

Commonwealth government

state or territory governments

local authorities

sources of information and processes for calculating suitable replacement of interface devices

SI system of units

standards applicable to the service including:

AS 1670.1 Fire detection, warning, control and intercom systems – System design, installation and commissioning – Part 1 Fire

AS2118.1Automatic fire sprinkler systems Part 1: General systems

AS1851Routine service of fire protection systems and equipment

safe work practices associated with commissioning fire alarm and detection interface systems including:

working with electricity

handling of materials

hazard control

PPE

use of first aid equipment

environmental requirements and sustainability principles including:

clean-up protection

stormwater protection

waste management

efficient energy use

efficient use and recycling of material

selecting appropriate components to ensure minimal environmental impact

quality assurance requirements including:

Australian standards

Environment Protection Authority (EPA)

internal company quality assurance policy and risk management strategy

International Standards Organisation

site safety plan

workplace operations and procedures.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad