# CPCPFS4025 Commission fire alarm and detection system interface devices

Release: 2

CPCPFS4025 Commission fire alarm and detection system interface devices

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4025A Commission fire alarm and detection system interface devices. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to commission fire alarm and detection interface systems.

It covers preparation for the work, identification and confirmation of system specifications and requirements, physical testing and commissioning of the system interface devices, and work finalisation processes, including records and documentation.

The role may involve interaction with architects, builders, suppliers and relevant planning authorities and requires a sound understanding of applicable legislation including work health and safety (WHS).

This units’ requirements may be carried out by experienced tradespeople such as hydraulic design consultants, plumbers or plumbing contractors who employ a team of plumbers.

Site location for work application may be a new work site or an existing structure.

The skills and knowledge described in this unit require a licence to practice in a workplace where plant and equipment interface devices operate at voltages above extra low voltage (above 50 V AC or 120 V DC).

Other regulations related to electrical and plumbing work may apply in some jurisdictions.

Practice in the workplace and during training is also subject to work health and safety regulations and contractual training obligations, such as those required under apprenticeship agreements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work. | 1.1 | Obtain current approved plans and specifications. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and sustainability principles. |
|  |  | 1.3 | Apply quality assurance requirements to comply with internal and external policies, procedures, standards and authorities. |
|  |  | 1.4 | Consult with all associated persons to plan and sequence tasks. |
|  |  | 1.5 | Select and check the serviceability of appropriate tools, equipment and personal protective equipment (PPE). |
|  |  | 1.6 | Prepare work area to support effective commissioning process. |
| 2 | Identify system requirements. | 2.1 | Identify and confirm system design requirements from job specifications according to standards. |
|  |  | 2.2 | Identify and determine system commissioning requirements using relevant Australian standards, statutory and regulatory authorities’ requirements and job specifications. |
| 3 | Test and commission system. | 3.1 | Check fire alarm and detection system interface devices to ensure type and installation conform to relevant Australian standard, job specifications, manufacturer recommendations and authorities’ requirements. |
|  |  | 3.2 | Test operation of system interface devices and adjust as required according to Australian standard, job specifications, manufacturer recommendations and authorities’ requirements. |
|  |  | 3.3 | Commission and maintain system interface devices to ensure correct operation according to relevant standards, and manufacturer and job specifications. |
| 4 | Clean up work area. | 4.1 | Clear the work area of materials and dispose of, reuse or recycle materials according to legislation, regulations, environmental codes of practice and job specifications. |
|  |  | 4.2 | Clean tools and equipment, check for damage and malfunction and store according to manufacturer recommendations and workplace procedures. |
|  |  | 4.3 | Access information to complete documentation according to workplace requirements and submit within specified timeframes. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS4025A Commission fire alarm and detection system interface devices.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad