# Assessment Requirements for CPCPFS4026 Commission firefighting appliances

Release: 1

Assessment Requirements for CPCPFS4026 Commission firefighting appliances

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4026A Commission firefighting appliances. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

commissioning firefighting appliances, including portable fire appliances, wheeled fire extinguishers, delivery lay flat hose and fire hose reel systems for a residential building of a minimum four storeys on a new or existing structure.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

current Australian standards applicable to relevant appliances including:

AS/NZS 1841.1 Portable fire extinguishers General requirements

AS/NZS 1850 Portable fire extinguishers - Classification, rating and performance testing

AS 1851-2012 Routine service of fire protection systems and equipment

AS2441 Installation of fire hose reels

AS2444 Portable fire extinguishers and blankets -selection and location

AS/NZS3504 Fire blankets

AS3565 Meters for water supply

AS4077 Fire protection fire extinguishing media: halogenated hydrocarbons Specifications for halon 1211 and halon 1301

AS4077 Fire protection fire extinguishing media: Code of practice for safe handling and transfer procedures of halon 1211 and halon 1301

AS4078 Fire protection fire extinguishing media: carbon dioxide

AS4265 Wheeled fire extinguishers

AS/NZS4353 Portable fire extinguishers - aerosol type

components and materials of firefighting equipment and appliances including:

delivery lay flat fire hose

fire blankets

fire hose reel systems

portable fire appliances

wheeled fire extinguishers

job safety analysis (JSA) and safe work method statements (SWMS)

pressure requirements of hose reel systems

process of installing, testing and commissioning firefighting equipment and appliances

relevant statutory requirements and authorities related to commissioning firefighting equipment and appliances including:

Commonwealth government

state governments

territories

local authorities

codes of practice

acts and regulations

Environment Protection Authority (EPA)

quality assurance requirements including:

internal company quality assurance policy and risk management strategy

International Standards Organisation (ISO)

site safety plan

workplace operations and procedures

sources of information and processes for the calculation of requirements including:

SI system of units

safe work practices associated with commissioning firefighting appliances including:

handling of materials

hazard control

personal protective clothing and equipment prescribed under legislation, regulations and workplace policies and practices

working with electricity

use of first aid equipment

environmental requirements and sustainability principles including:

clean-up protection

stormwater protection

waste management

efficient energy use

efficient use and recycling of material.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad