# CPCPFS4026 Commission firefighting appliances

Release: 1

CPCPFS4026 Commission firefighting appliances

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4026A Commission firefighting appliances. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to commission firefighting appliances.

It covers preparation for the work, identification and confirmation of system specifications and requirements, physical testing and commissioning of appliances, and work finalisation of work processes, including completing records and documentation.

The role may involve interaction with architects, builders, suppliers and relevant planning authorities and requires a sound understanding of applicable legislation including work health and safety (WHS).

The unit requirements may be carried out by experienced tradespeople such as hydraulic design consultants, fire services supervisors, plumbers or plumbing contractors who employ a team of plumbers.

Minimum site requirements for work application is a residential building of four storeys on a new work site and an existing structure.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work. | 1.1 | Obtain current approved plans and specifications. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and sustainability principles. |
|  |  | 1.3 | Apply quality assurance requirements to comply with internal and external policies, procedures, standards and authorities. |
|  |  | 1.4 | Consult with all associated persons to plan and sequence tasks. |
|  |  | 1.5 | Select and check the serviceability of appropriate tools, equipment and personal protective equipment (PPE). |
|  |  | 1.6 | Prepare work area to support effective commissioning process. |
| 2 | Identify system requirements. | 2.1 | Identify and confirm system design requirements from job specifications according to standards. |
|  |  | 2.2 | Identify and determine requirements of firefighting appliance commissioning using relevant Australian standards, statutory and regulatory authorities’ requirements and job specifications. |
| 3 | Test and commission system. | 3.1 | Check firefighting appliances to ensure type and installation conform to standards, job specifications, manufacturer recommendations and authorities’ requirements. |
|  |  | 3.2 | Test operation of appliances and adjust as required according to standards, job specifications, manufacturer’s recommendations and authorities’ requirements. |
|  |  | 3.3 | Commission and maintain appliances to ensure correct operation according to standards, manufacturer and job specifications. |
| 4 | Clean up work area. | 4.1 | Clear the work area of materials and dispose of, reuse or recycle materials according to legislation, regulations, environmental codes of practice and job specifications. |
|  |  | 4.2 | Clean tools and equipment check for damage and malfunction and store according to manufacturer recommendations and workplace procedures. |
|  |  | 4.3 | Access information to complete documentation according to workplace requirements and submit within specified timeframes. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS4026A Commission firefighting appliances.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPFS4026 Commission firefighting appliances

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4026A Commission firefighting appliances. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

commissioning firefighting appliances, including portable fire appliances, wheeled fire extinguishers, delivery lay flat hose and fire hose reel systems for a residential building of a minimum four storeys on a new or existing structure.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

current Australian standards applicable to relevant appliances including:

AS/NZS 1841.1 Portable fire extinguishers General requirements

AS/NZS 1850 Portable fire extinguishers - Classification, rating and performance testing

AS 1851-2012 Routine service of fire protection systems and equipment

AS2441 Installation of fire hose reels

AS2444 Portable fire extinguishers and blankets -selection and location

AS/NZS3504 Fire blankets

AS3565 Meters for water supply

AS4077 Fire protection fire extinguishing media: halogenated hydrocarbons Specifications for halon 1211 and halon 1301

AS4077 Fire protection fire extinguishing media: Code of practice for safe handling and transfer procedures of halon 1211 and halon 1301

AS4078 Fire protection fire extinguishing media: carbon dioxide

AS4265 Wheeled fire extinguishers

AS/NZS4353 Portable fire extinguishers - aerosol type

components and materials of firefighting equipment and appliances including:

delivery lay flat fire hose

fire blankets

fire hose reel systems

portable fire appliances

wheeled fire extinguishers

job safety analysis (JSA) and safe work method statements (SWMS)

pressure requirements of hose reel systems

process of installing, testing and commissioning firefighting equipment and appliances

relevant statutory requirements and authorities related to commissioning firefighting equipment and appliances including:

Commonwealth government

state governments

territories

local authorities

codes of practice

acts and regulations

Environment Protection Authority (EPA)

quality assurance requirements including:

internal company quality assurance policy and risk management strategy

International Standards Organisation (ISO)

site safety plan

workplace operations and procedures

sources of information and processes for the calculation of requirements including:

SI system of units

safe work practices associated with commissioning firefighting appliances including:

handling of materials

hazard control

personal protective clothing and equipment prescribed under legislation, regulations and workplace policies and practices

working with electricity

use of first aid equipment

environmental requirements and sustainability principles including:

clean-up protection

stormwater protection

waste management

efficient energy use

efficient use and recycling of material.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad