# Assessment Requirements for CPCPFS4027 Commission fire sprinkler systems

Release: 2

Assessment Requirements for CPCPFS4027 Commission fire sprinkler systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS4027A Commission fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To determine competency in this unit, a person must demonstrate they can commission one wet system connected to fixed pumpsets, one wet system connected to town main supply and one pre-action fire sprinkler system, and in doing so:

correctly interpret plans and specifications to complete work to the specified standard within accepted timeframes

comply with appropriate legislation, organisational processes and regulatory requirements.

In doing this, the person must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

design and installation performance requirements of relevant installation standards including:

National Fire Protection Association (NFPA)

Factory Mutual performance-based codes of practice

AS 2118.1 Automatic fire sprinkler systems - General systems

industry and regulatory requirements for commissioning fire sprinkler systems including:

codes and standards

environmental and sustainability

licensing

quality assurance

work health and safety (WHS)

job safety analyses (JSA), safety data sheets (SDS) and safe work method statements (SWMS)

performance measures for fire sprinkler systems as referenced in design drawings and specifications

properties of water, including pressure, flow rates and atmospheric pressure

SI system of measurements

workplace and equipment safety requirements, including personal protective equipment (PPE) requirements relevant to the job

fire sprinkler systems including:

deluge

dry pipe

pre-action

storage sprinklers

wall wetting

water mist

wet pipe

approving authorities including:

client representative

council representative

fire brigade official

fire protection consultant engineer

insurance company representative

system designer

documentation including:

as-installed drawings

design calculations

logbooks

operator manuals

tools and equipment including:

digital tachometers

flow testing equipment

hand tools

laser levels

measuring devices

PPE

pressure gauges

fire sprinkler system components including:

air compressors

alarm valves

ball valves

brackets

discharge nozzles

flow switches

pipework

pressure gauges

pressure reducing valves

pressure relief valves

pressure switches

pumpsets

solenoids

sprinkler heads

water supply valves

functional tests to check effective operation of:

brigade booster connections

control and actuator mechanisms including:

pressure switches

flow switches

control valves, including:

pressure reducing

pressure relief

tank inflow

interfaces to other systems, including:

booster pumps

building services

control indicating equipment (CIE)

control of booster pumpsets

fire detection

heating, ventilation and air conditioning (HVAC)

occupant warning systems

valve monitoring controls

remote water proving points

water supply components, such as tank infill and suction lines.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad