# CPCPFS5010 Design fire-compliant hydraulic services

Release: 1

CPCPFS5010 Design fire-compliant hydraulic services

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS5010A Design fire-compliant hydraulic services. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the skills and knowledge required to design fire protection systems for hydraulic services in wide span and high-rise buildings. The fire protection systems ensure that hydraulic services maintain integrity, insulation and structural adequacy in case of fire.

It involves interpretation of plans and specifications and the design, detailing and documentation of fire-compliant hydraulic services for applications including residential, commercial and industrial and may be for new projects or an existing structure being renovated, extended, restored or maintained.

This unit is suitable for those using specialised knowledge to complete routine and non-routine tasks and using their own judgement to deal with predictable and sometimes unpredictable problems.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Evaluate fire and non-fire-rated compartments of buildings and specify the application of evaluation to hydraulic services. |
|  |  | 1.2 | Determine design requirements from plans, specifications and client brief. |
|  |  | 1.3 | Conduct cost-benefit analysis, comparing a range of pipe materials, system designs and penetration protection systems. |
|  |  | 1.4 | Interpret and apply statutory, regulatory, Australian and New Zealand standards and relevant building code requirements for the design of fire-compliant hydraulic services. |
|  |  | 1.5 | Interpret and apply manufacturer requirements and trade and technical manuals. |
|  |  | 1.6 | Conduct additional research, including a desktop study, and establish performance requirements. |
| 2 | Plan and detail system components. | 2.1 | Plan layout of pipework systems and type and location of fire check materials. |
|  |  | 2.2 | Specific approved fire-rated materials, penetration techniques, insulation and filler materials to appropriate fire-resistance level. |
|  |  | 2.3 | Design pipe fixings for a range of applications. |
|  |  | 2.4 | Design pipework for sprinklered and non-sprinklered areas for a range of applications. |
|  |  | 2.5 | Specify installation requirements. |
|  |  | 2.6 | Conduct compliance inspection in accordance with workplace procedures. |
| 3 | Design and size systems. | 3.1 | Design fire-compliant hydraulic services for a range of wide span and high-rise building applications. |
|  |  | 3.2 | Design a range of fire-compliant duct systems using fire-rated building materials. |
|  |  | 3.3 | Design hydraulic services using non fire-rated materials to comply with building fire ratings. |
|  |  | 3.4 | Design and size fire-compliant hydraulic distribution systems using computer software packages. |
|  |  | 3.5 | Apply sustainability principles and concepts when preparing for and undertaking work process. |
| 4 | Prepare documentation. | 4.1 | Prepare and detail plans for a range of fire-compliant hydraulic services. |
|  |  | 4.2 | Prepare specifications for fire-compliant hydraulic services. |
|  |  | 4.3 | Prepare compliance report in accordance with workplace procedures. |
|  |  | 4.4 | Produce operation and maintenance manual in accordance with workplace procedures. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS5010A Design fire-compliant hydraulic services.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPFS5010 Design fire-compliant hydraulic services

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS5010A Design fire-compliant hydraulic services. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

evaluating and documenting design parameters, including client, regulatory, manufacturer, NCC and Australian and New Zealand standard requirements for a range of fire-compliant hydraulic services

planning and detailing system components, including:

applying sustainability principles and concepts

conducting a compliance inspection

designing fire-compliant hydraulic systems

designing fire-compliant systems for fire-rated materials

designing fire-compliant systems for non-fire-rated materials

ducts

fire check collars

insulation and filler materials

penetrations

preparing a compliance report

preparing a specification for fire-compliant hydraulic services

preparing an operation and maintenance manual.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

sustainability principles and concepts covering the current and future social, economic and environmental use of resources:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage

efficient use and recycling of material

disposing of waste material to ensure minimal environmental impact

efficient water usage, harvesting and/or disposal

lifecycle cost-benefit analysis

consideration of the Green Building Council of Australia rating scheme.

design requirements:

architectural specifications

builder specifications

design of fire-compliant hydraulic services should ensure that hydraulic services maintain the integrity, insulation and structural adequacy of a building in case of fire

owner requirements

specialist design applications

statutory, regulatory, Australian and New Zealand standards and relevant building code requirements:

AS/NZS3500 National plumbing and drainage

manual of authorisation procedures for plumbing and drainage products (MP52)

material and authorisation standards specified by:

statutory plumbing authority

local authority

National Construction Code (NCC)

relevant Acts, regulations and local and state government policies

relevant fire standards

manufacturer requirements:

material specifications

technical and trade manuals

layout of pipework systems:

car park systems

concealed pipework

duct systems

exposed pipework

fire-rated pipework

non fire-rated pipework

sprinklered and non-sprinklered areas

should have principles of economy, serviceability, durability and fit for use applied

fire check materials:

fire pillows

fire-rated sealants

smoke seals

range of intumescent collars

fire-rated materials:

fittings

pipework

valves

penetration techniques:

concrete floors

fire and smoke doors

fire dampers

galvanised decking systems

ply formwork systems

post and pre-tensioned concrete flooring systems

pre-cast flooring systems

insulation and fill materials:

caulking compounds

fibreglass

fire pillows

foams

proprietary fill materials

rock wool

fire-resistance level:

insulation

integrity

structural adequacy

pipe fixings may include fire and load-rated:

bedding and thrust blocks

corrosion protection

cover

masonry fixing

material requirements

pipe supports spacings and locations

vertical support fixing

installation requirements may include:

corrosion and element protection

installation details

jointing requirements

supports

workmanship and quality control

compliance inspection:

approved materials appropriate to fire-rated compartments and required fire-resistance level are used

clipping and insulation comply with regulatory requirements

fire compartments are not compromised by hydraulic services

installation is appropriate for the fire-resistance level

fire-compliant duct systems:

brick

concrete

masonry

plasterboard

fire-rated building materials:

brick

concrete

masonry

plasterboard

other building materials as applicable.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad