# Assessment Requirements for CPCPFS5011 Design fire sprinkler systems

Release: 2

Assessment Requirements for CPCPFS5011 Design fire sprinkler systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Change to first paragraph of the Application. Change to Performance Criteria 3.3. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS5011A Design fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

sizing and designing two different categories of fire sprinkler systems for high-rise buildings, including:

plan and detail all system component

meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

requirements of state regulatory authorities, Australian standards and manufacturer specifications:

AS/NZS 2118.1 Automatic fire sprinkler systems - General systems

AS/NZS 3500 Plumbing and drainage set

AS 2200 Design charts for water supply and sewerage

AS 2419 Fire hydrant installations - system design, installation and commissioning

material and authorisation standards specified by:

National Construction Code (NCC)

statutory authorities

environmental requirements

hazards associated with devices and systems used in the hydraulic sector

installation methods used in hydraulic systems

other standards, codes or standard operating procedures

terminology and definitions used in hydraulic design

quality assurance requirements:

Environment Protection Authority (EPA)

internal company quality assurance policy and risk management strategy

International Standards Organisation (ISO)

nature of materials used and effects of performance under various conditions

site safety plan

workplace operations and procedures

variety of applications of technology principles in design of fire sprinkler, hydrant and hose reel systems for all classes of building

workplace safety requirements, including relevant statutory regulations, codes and standards

scope of work:

interpretation of plans and specifications

sizing and documenting layout of fire sprinkler systems for applications, including residential, commercial and industrial

design requirements:

architectural specifications

builder specifications

owner requirements

relevant statutory authorities

specialist design applications

cost-benefit analysis including comparison of range of suitable materials and system choices available to enable cost-effective choices to be made without compromising project integrity

manufacturer requirements:

material specifications and standards

pump tables

sizing tables

sprinkler heads and components

technical and trade manuals

flow and pressure tests such as:

results of flow and pressure tests conducted by a contractor

on-site measurement of flow (l/s) and pressure (kPa)

desktop study to collect and interpret existing data for design purposes from:

architectural and building plans

council requirements

developer requirements

regulatory requirements

environmental, social and economic considerations

other documents and reports as appropriate

performance requirements including flow, velocity, pressure and discharge requirements, established using Australian and New Zealand standards and local statutory authorities’ plans

layout of pipework systems:

appropriate water supply

grid systems

ring main

tree system

should have principles of economy, serviceability, durability and fit for use applied

types of fittings:

mechanical fittings

bends

elbows

tees

unions

types of valves:

backflow prevention

pressure relief

isolating

pressure limiting

pressure reduction

strainers

water-saving devices

backflow prevention devices, which may be testable or non-testable devices and installed as:

individual protection

zone protection

containment protection

types of alarm and valve assemblies:

wet

dry

deluge

pre-action

mechanical and electrical alarms

ancillaries and trims

calculations used to identify:

hazard classification

hydraulic

pressure and flow

density of discharge

velocity

volume

friction

area of operation (including shapes)

materials used:

chlorinated polyvinyl chloride (CPVC)

copper

steel

fittings and fixtures

other approved materials

jointing methods:

silver braze

welded

solvent welded

flanged

mechanical joints

threaded

other approved methods of jointing

booster assemblies:

cabinet and block plans

non-return and isolating valves

fire appliance (hard stand) access

pressure gauges

appropriate booster assembly

fire and load rated pipe fixings:

masonry fixing

vertical support fixing

pipe supports spacings and locations

bedding and thrust blocks

corrosion protection

cover

material requirements

water storage systems considerations:

automatic controls

inlet valve design and sizing

outlet valve design and sizing

overflow requirements

safe tray requirements

tank sizes

vortex plates

tank siting

pump, pump controls and pump room requirements:

manual and/or automatic controls

inlet and outlet design requirements

installation and mounting requirements

pump selection

space requirements

electrical supply requirements

valve requirements

ventilation requirements

heating

exhaust extraction

test points and associated drainage systems:

design and sizing of collection points and tundishes to prevent spillage, overflow and damage to building finishes

design and sizing of drainage systems to cater for maximum flow conditions

specification of materials for systems, including copper, polyvinyl chloride (PVC) and galvanised piping

other approved materials

installation requirements:

corrosion and elements protection

installation details

jointing requirements

supports

workmanship and quality control

sprinkler system configurations:

deluge

drencher

dry

pre-action

special hazard

wet

methods to apply sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage

efficient use and recycling of material

disposing of waste material to ensure minimal environmental impact

efficient water usage, harvesting and/or disposal

life cycle cost-benefit analysis

consideration of the Green Building Council of Australia rating scheme

plan inclusions:

axonometrics

cross-sections

details

elevations

isometrics

sections

submission for client approval

pipework fabrication sheets and stores lists

service coordination

schematics produced using:

computer generation

drawing equipment

specification inclusions:

support and specialised components

jointing

manufacturer

materials

valve selection

quality control/workmanship

types of testing:

air pressure test

hydrostatic test

flush system

quality assurance (QA) audit

commissioning schedule inclusions:

direct inspection

flow test

system operation

operation and maintenance manual inclusions:

hydraulic calculations and water supply details

as installed drawings

relevant standards of maintenance of all maintainable equipment

manufacturer data

system description and operating instructions

certificate reference.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad