# Assessment Requirements for CPCPFS5012 Design fire hydrant and hose reel systems

Release: 2

Assessment Requirements for CPCPFS5012 Design fire hydrant and hose reel systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Foundation Skills. Typographical errors corrected in Elements and Performance Criteria 2.1, 2.2, and 2.7. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS5012A Design fire hydrant and hose reel systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

establishing and evaluating design parameters for a range of fire hydrant and hose reel systems

planning system components for a range of fire hydrant and hose reel systems:

application of sustainability principles and concepts

booster assemblies

hose reels

hydrants

storage tanks

thrust blocks

complying with WHS regulations applicable to workplace operations

applying organisational quality procedures and processes within context of restoring plastered surfaces to conservation requirements

designing and sizing a range of fire hydrant and hose reel systems

developing a checklist with all information and formulas required to carry out flow and pressure tests

preparing plans for a range of fire hydrant and hose reel systems

preparing a specification for a fire hydrant and hose reel system

preparing a testing and commissioning schedule

producing an operation and maintenance manual

communicating with others to ensure safe and effective work site operations.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

Australian and New Zealand standards:

AS/NZS3500 National plumbing and drainage: Part 1

AS2419 Fire hydrant installations system design, installation and commission

AS2441 Installation of fire hose reels

AS/NZS2118 Automatic fire sprinkler systems general requirements

NCC

fire department, statutory and regulatory requirements and Australian and New Zealand standards for the design of fire hydrants, hose reels and distribution systems

flow and pressure:

results of flow and pressure tests

on-site measurement of flow (l/s), velocity (m/s) and pressure (kPa)

performance requirements:

flow, velocity, pressure and discharge requirements, established using Australian and New Zealand standards and local statutory authority’s plans

layout of pipework:

dual feed

ring main

single pipe

fittings and valves:

fittings:

mechanical fittings

bends

elbows

tees

unions

valves:

backflow prevention

pressure relief

isolating

pressure limiting

pressure reduction

materials:

copper

galvanised steel

fittings and fixtures

other approved materials

jointing methods:

flanged

mechanical joints

silver braze

threaded

welded

other approved methods of jointing

installation requirements:

corrosion and elements protection

installation details

jointing requirements

supports

workmanship and quality control

booster and standpipe assemblies:

cabinet and block plans

non-return and isolating valves

fire appliance (hard stand) access

pressure gauges

suction and delivery outlets

testing points

signage

hose reel assemblies:

Australian standards’ requirements for clearances and requirements

non-return and backflow prevention valves

pipe sizes

design elements of thrust blocks:

designed and installed to AS/NZS3500

design details for tees, elbows and valves

keying and anchorage points

sizes

soil characteristics

velocity and flow forces to be resisted

pipe fixings:

bedding and thrust blocks

corrosion protection

covers

masonry fixing

material requirements

pipe supports spacings and locations

vertical support fixing

pump, pump controls and pump room requirements:

electrical supply requirements

heating

inlet and outlet design requirements

installation and mounting requirements

manual and automatic controls

pump selection

space requirements

valve requirements

ventilation requirements

water storage systems:

inlet valve design and sizing

outlet valve design and sizing

overflow requirements

safe tray requirements

tank sizes

vortex plates

delivery systems:

gravity feed

mains pressure

pump supply

sustainability principles and concepts:

cover the current and future social, economic and environmental use of resources:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage

efficient use and recycling of material

disposing of waste material to ensure minimal environmental impact

efficient water usage, harvesting and/or disposal

life cycle cost-benefit analysis

consideration of the Green Building Council of Australia rating scheme.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad