# CPCPFS5012 Design fire hydrant and hose reel systems

Release: 2

CPCPFS5012 Design fire hydrant and hose reel systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Foundation Skills. Typographical errors corrected in Elements and Performance Criteria 2.1, 2.2, and 2.7. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS5012A Design fire hydrant and hose reel systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to design fire hydrant, hose reel and storage systems to Australian and New Zealand standards, the National Construction Code (NCC) and other relevant legislative requirements in order to meet fire protection standards for a range of wide span and high-rise building applications.

This unit is suitable for those using specialised knowledge to complete routine and non-routine tasks and using their own judgement to deal with predictable and sometimes unpredictable problems.

The design of fire hydrants, hose reels and storage systems must comply with Australian and New Zealand standards, the National Construction Code (NCC) and other relevant legislative requirements in order to meet fire protection standards.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Establish scope of work for fire hydrants, hose reels and distribution systems for wide span and high-rise building projects. |
|  |  | 1.2 | Determine design requirements from plans, specifications and client brief. |
|  |  | 1.3 | Conduct cost-benefit analysis comparing a range of pipe materials and system designs. |
|  |  | 1.4 | Interpret manufacturer requirements and trade, technical and sizing manuals for the design parameters. |
|  |  | 1.5 | Conduct research to outline design parameters. |
|  |  | 1.6 | Conduct flow and pressure tests. |
|  |  | 1.7 | Establish performance requirements. |
| 2 | Plan and detail system components. | 2.1 | Plan layout of pipework and type and location of fittings and valves. |
|  |  | 2.2 | Detail type, location and requirements for backflow prevention devices. |
|  |  | 2.3 | Calculate pipe sizes, velocities, flows and pressures for a range of applications. |
|  |  | 2.4 | Specify approved materials, jointing methods and installation requirements. |
|  |  | 2.5 | Detail hydrant booster, standpipe and hose reel assemblies. |
|  |  | 2.6 | Design thrust blocks and pipe fixings for a range of applications. |
|  |  | 2.7 | Size and detail pump, pump controls and pump room requirements. |
|  |  | 2.8 | Design and detailed water storage systems. |
| 3 | Design and size systems. | 3.1 | Design fire hydrant and hose reel systems for a range of wide span and high-rise building applications. |
|  |  | 3.2 | Design combined water supply, fire hydrant, hose reel and sprinkler systems for a range of wide span and high-rise building applications. |
|  |  | 3.3 | Design a range of delivery systems. |
|  |  | 3.4 | Design and size Fire hydrant and hose reel systems using computer software packages. |
|  |  | 3.5 | Apply sustainability principles and concepts when preparing for and undertaking work process. |
| 4 | Prepare documentation. | 4.1 | Prepare plans for a range of fire hydrant and hose reel systems. |
|  |  | 4.2 | Prepare block plan booster cabinet according to Australian and New Zealand standards. |
|  |  | 4.3 | Prepare specification for a fire hydrant and hose reel system. |
|  |  | 4.4 | Prepare testing and commissioning schedule. |
|  |  | 4.5 | Produce operation and maintenance manual. |

# Foundation Skills

A person demonstrating competency in this unit must have the following language, literacy, numeracy and employment skills:

problem-solving skills to:

analyse requirements

carry out tests

consider options

design an appropriate system

identify typical faults and action required to rectify problems

technology skills to:

access and understand site-specific instructions in a variety of media

use mobile communication technology.

# Unit Mapping Information

Supersedes and is equivalent to CPCPFS5012A Design fire hydrant and hose reel systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPFS5012 Design fire hydrant and hose reel systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Foundation Skills. Typographical errors corrected in Elements and Performance Criteria 2.1, 2.2, and 2.7. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS5012A Design fire hydrant and hose reel systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

establishing and evaluating design parameters for a range of fire hydrant and hose reel systems

planning system components for a range of fire hydrant and hose reel systems:

application of sustainability principles and concepts

booster assemblies

hose reels

hydrants

storage tanks

thrust blocks

complying with WHS regulations applicable to workplace operations

applying organisational quality procedures and processes within context of restoring plastered surfaces to conservation requirements

designing and sizing a range of fire hydrant and hose reel systems

developing a checklist with all information and formulas required to carry out flow and pressure tests

preparing plans for a range of fire hydrant and hose reel systems

preparing a specification for a fire hydrant and hose reel system

preparing a testing and commissioning schedule

producing an operation and maintenance manual

communicating with others to ensure safe and effective work site operations.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

Australian and New Zealand standards:

AS/NZS3500 National plumbing and drainage: Part 1

AS2419 Fire hydrant installations system design, installation and commission

AS2441 Installation of fire hose reels

AS/NZS2118 Automatic fire sprinkler systems general requirements

NCC

fire department, statutory and regulatory requirements and Australian and New Zealand standards for the design of fire hydrants, hose reels and distribution systems

flow and pressure:

results of flow and pressure tests

on-site measurement of flow (l/s), velocity (m/s) and pressure (kPa)

performance requirements:

flow, velocity, pressure and discharge requirements, established using Australian and New Zealand standards and local statutory authority’s plans

layout of pipework:

dual feed

ring main

single pipe

fittings and valves:

fittings:

mechanical fittings

bends

elbows

tees

unions

valves:

backflow prevention

pressure relief

isolating

pressure limiting

pressure reduction

materials:

copper

galvanised steel

fittings and fixtures

other approved materials

jointing methods:

flanged

mechanical joints

silver braze

threaded

welded

other approved methods of jointing

installation requirements:

corrosion and elements protection

installation details

jointing requirements

supports

workmanship and quality control

booster and standpipe assemblies:

cabinet and block plans

non-return and isolating valves

fire appliance (hard stand) access

pressure gauges

suction and delivery outlets

testing points

signage

hose reel assemblies:

Australian standards’ requirements for clearances and requirements

non-return and backflow prevention valves

pipe sizes

design elements of thrust blocks:

designed and installed to AS/NZS3500

design details for tees, elbows and valves

keying and anchorage points

sizes

soil characteristics

velocity and flow forces to be resisted

pipe fixings:

bedding and thrust blocks

corrosion protection

covers

masonry fixing

material requirements

pipe supports spacings and locations

vertical support fixing

pump, pump controls and pump room requirements:

electrical supply requirements

heating

inlet and outlet design requirements

installation and mounting requirements

manual and automatic controls

pump selection

space requirements

valve requirements

ventilation requirements

water storage systems:

inlet valve design and sizing

outlet valve design and sizing

overflow requirements

safe tray requirements

tank sizes

vortex plates

delivery systems:

gravity feed

mains pressure

pump supply

sustainability principles and concepts:

cover the current and future social, economic and environmental use of resources:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage

efficient use and recycling of material

disposing of waste material to ensure minimal environmental impact

efficient water usage, harvesting and/or disposal

life cycle cost-benefit analysis

consideration of the Green Building Council of Australia rating scheme.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad