# Assessment Requirements for CPCPGS3053 Disconnect and reconnect Type A gas appliances

Release: 3

Assessment Requirements for CPCPGS3053 Disconnect and reconnect Type A gas appliances

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Knowledge Evidence. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Removed reference to ‘power supply’ in Knowledge Evidence, duplicates ‘electrical supply including direct wired appliances’ already noted in Knowledge Evidence. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS3053A Disconnect and reconnect Type A gas appliances. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

isolating, disconnecting and reconnecting two different Type A gas appliances.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

processes, procedures and techniques for:

isolation, disconnection and reconnection of Type A appliances

electrical safety requirements

gas supply

disconnection and reconnection requirements of water supply

electrical supply including the difference between direct and indirect wired appliances.

how to access relevant information, including Job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements tools, materials and equipment used for the disconnection, reconnection and commissioning of Type A gas appliances

work health and safety (WHS) requirements for the disconnection, reconnection and commissioning of Type A gas appliances

properties of gas, gas safety, combustion principles, pressure and flow rates

documentation relevant to Type A gas appliances disconnection and reconnection.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad