# CPCPGS3053 Disconnect and reconnect Type A gas appliances

Release: 3

CPCPGS3053 Disconnect and reconnect Type A gas appliances

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Knowledge Evidence. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Removed reference to ‘power supply’ in Knowledge Evidence, duplicates ‘electrical supply including direct wired appliances’ already noted in Knowledge Evidence. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS3053A Disconnect and reconnect Type A gas appliances. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to disconnect and reconnect Type A gas appliances operating on natural gas (NG) or liquefied petroleum gas (LPG). The work is confined to disconnecting and reconnecting the appliance.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify disconnect and reconnect requirements. | 1.1 | Access, read and determine disconnect and reconnect requirements from relevant Job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for the work. | 2.1 | Select appropriate tools and equipment, including personal protective equipment (PPE). |
|  |  | 2.2 | Locate isolation point(s). |
| 3 | Disconnect and reconnect appliance. | 3.1 | Isolate services. |
|  |  | 3.2 | Carry out an electrical safety check and apply electrical safety procedures. |
|  |  | 3.3 | Disconnect and remove appliance. |
|  |  | 3.4 | Reconnect appliance to existing services. |
|  |  | 3.5 | Check for leaks and commission appliance. |
|  |  | 3.6 | Complete documentation according to regulatory requirements and/or workplace procedures. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPGS3053A Disconnect and reconnect Type A gas appliances.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad