# CPCPGS3055 Install gas sub-meters

Release: 2

CPCPGS3055 Install gas sub-meters

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Knowledge Evidence. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS3055A Install gas sub-meters. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to install gas sub-meters for gas consumer piping systems.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Access, read and determine gas sub-meters installation requirements from job specifications, relevant Australian Standards, codes, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Determine gas load requirements, size and select gas meter. |
|  |  | 1.4 | Identify gas sub-meter location requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select appropriate tools and equipment including personal protective equipment (PPE). |
| 3 | Install gas sub-meter. | 3.1 | Install and connect sub-meter. |
|  |  | 3.2 | Test and purge installation. |
| 4 | Clean up. | 4.1 | Clear the work area and dispose of any materials in accordance with state and territory legislation and workplace procedures. |
|  |  | 4.2 | Clean, check for serviceability and store and secure plant, equipment and tools, reporting any damage to appropriate personnel. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPGS3055A Install gas sub-meters.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad