# Assessment Requirements for CPCPGS3060 Install LPG storage of aggregate storage capacity exceeding 500 litres and less than 8 kl

Release: 2

Assessment Requirements for CPCPGS3060 Install LPG storage of aggregate storage capacity exceeding 500 litres and less than 8 kl

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Pre-requisite unit. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS3060A Install LPG storage of aggregate storage capacity exceeding 500 litres and less than 8 KL. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing a liquefied petroleum gas (LPG) storage facility of capacity greater than 500 litres (but less than 8 kl) to a consumer point of connection, including:

a tank or a manifold installation connecting a minimum of three cylinders with a storage capacity greater than 500 litres (but less than 8 kl)

installation of a first and second stage regulator

testing first and second stage piping installation.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

LPG storage requirements

characteristics, application and limitations of approved materials and components including:

vaporisation rates

manifold

tank/cylinder support(s) and bases

approved piping materials

approved fitting and fixing materials

gas storage containers (500 l – 8 kl)

gas regulators

non-metallic hose assemblies

processes, procedures and techniques for:

installing and connecting LPG supply

determining and calculating material quantities

how to access relevant information, including job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements

tools, materials and equipment used to install LPG storage

work health and safety requirements for installing LPG storage

properties of gas, gas safety, combustion principles, pressure and flow rates.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad