# Assessment Requirements for CPCPGS3061 Install and commission Type A gas appliances

Release: 4

Assessment Requirements for CPCPGS3061 Install and commission Type A gas appliances

# Modification History

| Release 4 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Performance Criteria 3.2, 3.4 and 3.5. Amended Knowledge Evidence. |
| --- | --- |
| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Amended Element 1 as follows: Identify installation requirements for Type A gas appliances. |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 1 and 4.1. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS3061A Install and commission Type A gas appliances. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing and commissioning three certified Type A gas appliances:

one must be a fan assisted flued appliance

one must be installed in a domestic setting

one must be installed in a commercial setting

calculating natural ventilation for at least one Type A gas appliance

conducting a carbon monoxide test.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

types of approved flues for Type A appliances, including:

balanced

individual appliance

multiple flues

natural draft

twin wall flues

fan assisted flues

power flues

other approved flues

working drawings conventions, symbols and abbreviations

results of carbon monoxide poisoning and how it can occur

reasons for testing for carbon monoxide

consequences of carbon monoxide poisoning:

ill health

death

processes, procedures and techniques for:

installing and commissioning Type A appliances and ventilation

using carbon monoxide testing equipment to check appliance for spillage

existing consumer piping is checked to ensure its compliance with relevant Australian standards and that its capacity is adequate for the additional load

size of branch line is calculated according to regulating authorities’ requirements

properties of gas, gas safety, combustion principles, pressure and flow rates.

how to access relevant information, including codes and standards

tools, materials and equipment used for the installation and commissioning of Type A gas appliances

work health and safety (WHS) requirements for the installation and commissioning of Type A gas appliances.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad