# CPCPGS3061 Install and commission Type A gas appliances

Release: 4

CPCPGS3061 Install and commission Type A gas appliances

# Modification History

| Release 4 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Performance Criteria 3.2, 3.4 and 3.5. Amended Knowledge Evidence. |
| --- | --- |
| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Amended Element 1 as follows: Identify installation requirements for Type A gas appliances. |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 1 and 4.1. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS3061A Install and commission Type A gas appliances. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to install and commission certified Type A gas appliances.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

CPCPGS3054 Calculate and install natural ventilation for Type A gas appliances.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements for Type A gas appliances. | 1.1 | Access, read and determine Type A gas appliance installation requirements from job specifications, relevant Australian Standards, codes, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare the work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select appropriate tools and equipment, including personal protective equipment (PPE). |
|  |  | 2.3 | Identify potential hazards and determine and implement control measures. |
| 3 | Install and commission appliance. | 3.1 | Determine ventilation opening and source of air supply. |
|  |  | 3.2 | Set out, install and test consumer piping system according to job specifications and complying with relevant Australian Standards, codes, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 3.3 | Install appliance, purge piping and reconnect system to appliance and other services according to job specifications, relevant Australian Standards, codes, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 3.4 | Test and commission appliance and carry out adjustment if required. |
|  |  | 3.5 | Test for leakage or spillage of combustion products. |
|  |  | 3.6 | Conduct an electrical safety check. |
|  |  | 3.7 | Complete documentation according to regulatory requirements and/or workplace procedures. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPGS3061A Install and commission Type A gas appliances.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPGS3061 Install and commission Type A gas appliances

# Modification History

| Release 4 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Performance Criteria 3.2, 3.4 and 3.5. Amended Knowledge Evidence. |
| --- | --- |
| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Amended Element 1 as follows: Identify installation requirements for Type A gas appliances. |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 1 and 4.1. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS3061A Install and commission Type A gas appliances. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing and commissioning three certified Type A gas appliances:

one must be a fan assisted flued appliance

one must be installed in a domestic setting

one must be installed in a commercial setting

calculating natural ventilation for at least one Type A gas appliance

conducting a carbon monoxide test.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

types of approved flues for Type A appliances, including:

balanced

individual appliance

multiple flues

natural draft

twin wall flues

fan assisted flues

power flues

other approved flues

working drawings conventions, symbols and abbreviations

results of carbon monoxide poisoning and how it can occur

reasons for testing for carbon monoxide

consequences of carbon monoxide poisoning:

ill health

death

processes, procedures and techniques for:

installing and commissioning Type A appliances and ventilation

using carbon monoxide testing equipment to check appliance for spillage

existing consumer piping is checked to ensure its compliance with relevant Australian standards and that its capacity is adequate for the additional load

size of branch line is calculated according to regulating authorities’ requirements

properties of gas, gas safety, combustion principles, pressure and flow rates.

how to access relevant information, including codes and standards

tools, materials and equipment used for the installation and commissioning of Type A gas appliances

work health and safety (WHS) requirements for the installation and commissioning of Type A gas appliances.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad