# CPCPGS3061 Install and commission Type A gas appliances

Release: 4

CPCPGS3061 Install and commission Type A gas appliances

# Modification History

| Release 4 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Performance Criteria 3.2, 3.4 and 3.5. Amended Knowledge Evidence. |
| --- | --- |
| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Amended Element 1 as follows: Identify installation requirements for Type A gas appliances. |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 1 and 4.1. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS3061A Install and commission Type A gas appliances. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to install and commission certified Type A gas appliances.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

CPCPGS3054 Calculate and install natural ventilation for Type A gas appliances.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements for Type A gas appliances. | 1.1 | Access, read and determine Type A gas appliance installation requirements from job specifications, relevant Australian Standards, codes, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare the work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select appropriate tools and equipment, including personal protective equipment (PPE). |
|  |  | 2.3 | Identify potential hazards and determine and implement control measures. |
| 3 | Install and commission appliance. | 3.1 | Determine ventilation opening and source of air supply. |
|  |  | 3.2 | Set out, install and test consumer piping system according to job specifications and complying with relevant Australian Standards, codes, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 3.3 | Install appliance, purge piping and reconnect system to appliance and other services according to job specifications, relevant Australian Standards, codes, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 3.4 | Test and commission appliance and carry out adjustment if required. |
|  |  | 3.5 | Test for leakage or spillage of combustion products. |
|  |  | 3.6 | Conduct an electrical safety check. |
|  |  | 3.7 | Complete documentation according to regulatory requirements and/or workplace procedures. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPGS3061A Install and commission Type A gas appliances.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad