# Assessment Requirements for CPCPGS4022 Service Type A gas appliances

Release: 1

Assessment Requirements for CPCPGS4022 Service Type A gas appliances

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS4022A Service Type A gas appliances. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

diagnosing and rectifying faults in, and testing and recommissioning, four different faulty Type A appliances, including two electrical faults and two gas faults and with the following components:

burners and rail cocks

combination controls

pilots

thermostats and components

solenoid valve regulators not exceeding 50 volt (V) alternating current (AC) or 120 V direct current (DC) (ripple free)

solenoid valves

thermocouples

conducting evaluative tests on electrical and electronic components not exceeding 50 V AC. or 120 V DC (ripple free) to diagnose and remedy faults and malfunctions, including:

central processing units

printed circuit boards and associated parts

converting a Type A gas appliance to operate on another gas type.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

basic electrical theory:

electrical safety checks

characteristics of fuses, circuit breakers, residual current devices and earthing systems

ignition systems

insulation resistance test

isolation procedures

solenoids

thermocouples

thermopiles

appliance operations

burners and burner adjustment

characteristics of conversion from one gas type to another

ignition systems (pilot, ignition and re-ignition, flame safeguard systems, hot surface ignition)

gas appliance regulators

gas appliance thermostats

gas safety:

combustion characteristics and effects

isolation procedures

operation of flame failure systems used in Type A gas appliances

correct operation of the flue, including carbon monoxide testing

how to access relevant information, including codes and standards

tools, materials and equipment used to service Type A gas appliances

work health and safety (WHS) requirements for servicing Type A gas appliances

properties of gas, gas safety, combustion principles, pressure and megajoule rates.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad