# CPCPGS4022 Service Type A gas appliances

Release: 1

CPCPGS4022 Service Type A gas appliances

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS4022A Service Type A gas appliances. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to diagnose and repair faults on certified Type A gas appliances.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

CPCPGS3053 Disconnect and reconnect Type A gas appliances

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify service requirements. | 1.1 | Access, read and determine service requirements for Type A gas appliances from job specifications, relevant Australian Standards, codes, manufacturers’ specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Prepare work area and materials to service the Type A gas appliance. |
|  |  | 1.4 | Locate gas and electrical isolation points. |
|  |  | 1.5 | Complete electrical and gas safety checks before commencing servicing work. |
| 2 | Determine faults associated with gas appliances and recommission. | 2.1 | Identify potential electrical fault pathways and confirm assembly and disassembly techniques and sequences. |
|  |  | 2.2 | Complete diagnosis on electrical faults on electrical systems that do not exceed 50 volt (V) alternating current (AC) or 120 V direct current (DC). |
|  |  | 2.3 | Complete gas diagnosis and select most appropriate corrective action as required. |
|  |  | 2.4 | Repair, replace and/or make adjustments as required. |
|  |  | 2.5 | Commission and return to service. |
|  |  | 2.6 | Analyse flue gases and check ventilation requirements according to Australian Standards and jurisdictional requirements. |
|  |  | 2.7 | Complete and submit documentation according to installation requirements and workplace procedures. |
| 3 | Clean up. | 3.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 3.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPGS4022A Service Type A gas appliances

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPGS4022 Service Type A gas appliances

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS4022A Service Type A gas appliances. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

diagnosing and rectifying faults in, and testing and recommissioning, four different faulty Type A appliances, including two electrical faults and two gas faults and with the following components:

burners and rail cocks

combination controls

pilots

thermostats and components

solenoid valve regulators not exceeding 50 volt (V) alternating current (AC) or 120 V direct current (DC) (ripple free)

solenoid valves

thermocouples

conducting evaluative tests on electrical and electronic components not exceeding 50 V AC. or 120 V DC (ripple free) to diagnose and remedy faults and malfunctions, including:

central processing units

printed circuit boards and associated parts

converting a Type A gas appliance to operate on another gas type.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

basic electrical theory:

electrical safety checks

characteristics of fuses, circuit breakers, residual current devices and earthing systems

ignition systems

insulation resistance test

isolation procedures

solenoids

thermocouples

thermopiles

appliance operations

burners and burner adjustment

characteristics of conversion from one gas type to another

ignition systems (pilot, ignition and re-ignition, flame safeguard systems, hot surface ignition)

gas appliance regulators

gas appliance thermostats

gas safety:

combustion characteristics and effects

isolation procedures

operation of flame failure systems used in Type A gas appliances

correct operation of the flue, including carbon monoxide testing

how to access relevant information, including codes and standards

tools, materials and equipment used to service Type A gas appliances

work health and safety (WHS) requirements for servicing Type A gas appliances

properties of gas, gas safety, combustion principles, pressure and megajoule rates.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad