# CPCPGS4022 Service Type A gas appliances

Release: 1

CPCPGS4022 Service Type A gas appliances

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS4022A Service Type A gas appliances. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to diagnose and repair faults on certified Type A gas appliances.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

CPCPGS3053 Disconnect and reconnect Type A gas appliances

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify service requirements. | 1.1 | Access, read and determine service requirements for Type A gas appliances from job specifications, relevant Australian Standards, codes, manufacturers’ specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Prepare work area and materials to service the Type A gas appliance. |
|  |  | 1.4 | Locate gas and electrical isolation points. |
|  |  | 1.5 | Complete electrical and gas safety checks before commencing servicing work. |
| 2 | Determine faults associated with gas appliances and recommission. | 2.1 | Identify potential electrical fault pathways and confirm assembly and disassembly techniques and sequences. |
|  |  | 2.2 | Complete diagnosis on electrical faults on electrical systems that do not exceed 50 volt (V) alternating current (AC) or 120 V direct current (DC). |
|  |  | 2.3 | Complete gas diagnosis and select most appropriate corrective action as required. |
|  |  | 2.4 | Repair, replace and/or make adjustments as required. |
|  |  | 2.5 | Commission and return to service. |
|  |  | 2.6 | Analyse flue gases and check ventilation requirements according to Australian Standards and jurisdictional requirements. |
|  |  | 2.7 | Complete and submit documentation according to installation requirements and workplace procedures. |
| 3 | Clean up. | 3.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 3.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPGS4022A Service Type A gas appliances

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad