# Assessment Requirements for CPCPGS4023 Install, commission and service Type B gas appliances

Release: 3

Assessment Requirements for CPCPGS4023 Install, commission and service Type B gas appliances

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Updated imported prerequisite unit UEENEEP012A Disconnect/reconnect composite appliances connected to low voltage installation wiring to UEERL0004 Disconnect-reconnect electrical equipment connected to low voltage (LV) installation wiring. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element and Performance Criteria 6.2. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPGS4023B Install, commission and service Type B gas appliances. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

planning, installing, commissioning and maintaining one Type B gas appliance.

In doing so the person must:

complete all work according to approved design specifications, workplace procedures, standards, codes and regulatory and manufacturer requirements within agreed timeframes

apply safety requirements throughout the work sequence.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

relevant standards:

AS 3814 Industrial and commercial gas-fired appliances

AS/NZS 5601 Gas installations set

AS1375 Industrial fuel fired appliances

AS 2593 Boilers - Safety management and supervision systems

AS/NZS 3000 Electrical installations (known as the Australian/New Zealand Wiring Rules)

AS/NZS 4836 Safe working on low-voltage electrical installations

flue gas analysis techniques and processes

gas terminology and conventional symbols

gas safety and isolation procedures

combustion characteristics and effects

purging requirements, techniques and critical calculation processes

types, characteristics, uses and limitations of Type B gas appliance components

ventilation techniques and calculation processes

workplace and equipment safety requirements

design specification:

air controls

combustion air blowers

flame safeguards

gas pressure regulation

gas valve trains

manual shut-off valves

markings and instructions

materials

over-pressure protection systems

process controls

safety shut-off valve systems

Type B gas appliances:

those above 10 megajoules (MJ) for which a certification scheme does not exist

gas types:

combination fuels

liquefied petroleum gas (LPG)

natural gas (NG)

tempered LPG

bio-gas

special requirements for design and operation:

after burners - process

air gas mixing machines and mixing blowers

atmosphere generators and special atmospheres

direct gas fired air heaters

high input gas fired appliances

incinerators and generators

multi-fuel firing systems

ovens - direct fired

smoke ovens - direct fired

stationary gas engines and turbines

steam and heated water boilers

water heaters

Type B appliance operation specifications:

flame establishment periods

interlocks

operation of gas appliance and burners

operational sequences

pre-purging

start gas rates

determination of site suitability for installation

commissioning procedure for a Type B appliance in accordance with relevant standard

types of valve trains

types of burners:

atmospheric

nozzle mix

package

pre-mix

testing and servicing of Type B gas appliances requirements

how to access relevant information, including codes and standards

tools, materials and equipment used to install, commission and service Type B gas appliances

work health and safety (WHS) requirements for installing, commissioning and servicing Type B gas appliances

properties of gas, gas safety, combustion principles, pressure and flow rates.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad