# Assessment Requirements for CPCPIG2021 Design domestic urban irrigation systems

Release: 2

Assessment Requirements for CPCPIG2021 Design domestic urban irrigation systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Application and Elements and Performance Criteria 1.6. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPIG2021A Design domestic urban irrigation systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing and preparing a drawing of the system, incorporating automatic timers and controls, varying sprinkler heads and zones, and indicating the materials required (by number and type), to comply with a site plan and specifications for the irrigation of a 200 square metre garden of lawn, shrubs, trees and flowers.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

processes for accessing information and for calculating material requirements

properties of water, including pressure and flow rates

relevant statutory and authority requirements related to drawing and installing irrigation systems

SI system of measurement

specifications of the range of irrigation products available

standards applicable to the installation

technologies for irrigation measurement and drawings

various types of irrigation systems, including types of materials and components used

workplace and equipment safety requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad