# Assessment Requirements for CPCPIG3021 Set out, install and commission irrigation systems

Release: 1

Assessment Requirements for CPCPIG3021 Set out, install and commission irrigation systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPIG3021A Set out, install and commission irrigation systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

determining the system requirements, setting out, installing and commissioning an irrigation system sourced from an isolating valve to supply four water emitters of varying type and requiring a solenoid valve to comply with given plans and specifications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

characteristics and application of different pipes and fittings, including fixing and joining techniques and methods

job safety analysis (JSA) and safe work method statements (SWMS)

process of setting out, installing and commissioning irrigation systems

processes for accessing information and for calculating material requirements

properties of water, including pressure and flow rates

protection of drinking water supplies

relevant statutory and authority requirements related to installing and commissioning irrigation systems

SI system of measurement

standards applicable to the installation

various types of irrigation systems, including types of materials and components used

workplace and equipment safety requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad