# Assessment Requirements for CPCPMS3033 Install small bore heating systems

Release: 3

Assessment Requirements for CPCPMS3033 Install small bore heating systems

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Performance Criteria 3.3. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Correction to prerequisite unit code from CPCPCM2043A Carry out WHS requirements to CPCPCM2043 Carry out WHS requirements. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPMS3033A Install small bore heating systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing a two-pipe heating system to two panel radiators, skirting convector or a unit heater, including:

using a combination of copper tube and non-metallic piping

a minimum of DN20 flow and return with DN15 branches connected to a heating source.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, application and limitations of approved materials and components

processes, procedures and techniques of:

effective isolation heating electrical systems

installing and commissioning small bore heating systems:

panel radiators

skirting convectors

boilers and heat exchanges

under floor heating systems

functional and operational features of hand and power tools and equipment including:

hand and power tools

heating and bending equipment

lifting and load shifting equipment

measuring equipment

silver brazing equipment

welding equipment

how to access relevant information, including codes and standards

tools, materials and equipment used to install small bore heating systems

work health and safety (WHS) requirements to install small bore heating systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad