# CPCPMS3036 Install air handling units

Release: 2

CPCPMS3036 Install air handling units

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPMS3036A Install air handling units. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to install and test air heating, cooling and ventilation plenums or enclosures.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Access, read and determine install air handling unit installation requirements from job specifications, relevant Australian Standards, codes, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select and check serviceability of appropriate tools, equipment and personal protective equipment (PPE). |
| 3 | Set out, assemble and test air handling units. | 3.1 | Set out air handling unit in compliance with plans and specifications. |
|  |  | 3.2 | Position components and equipment according to plans and specifications. |
|  |  | 3.3 | Install equipment according to job and manufacturer specifications. |
|  |  | 3.4 | Check assembly for compliance with plans and specifications. |
|  |  | 3.5 | Test air handling unit for correct operation. |
|  |  | 3.6 | Complete documentation according to relevant regulatory requirements and/or workplace requirements. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure according to workplace procedures. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPMS3036A Install air handling units.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPMS3036 Install air handling units

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPMS3036A Install air handling units. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

locating, interpreting and applying relevant information, standards and specifications to installing air handling units

installing a plenum chamber that includes a fan, coil, filter and dampers, including supports and brackets and any fixing requirements, allowing for anti-vibration.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

effects of machinery vibrations on structures, ducts and fittings

processes of installing and testing air handling unit

techniques for setting out, assembly and fixing and jointing requirements for duct work systems

equipment installation techniques that limit the transfer of vibrations from plant and equipment to other component

testing, balancing and commissioning of air handling units

how to access relevant information, including codes and standards

tools, materials and equipment used to install air handling units

work health and safety (WHS) requirements to install air handling units.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad