# Assessment Requirements for CPCPMS3041 Install domestic solid fuel burning appliances

Release: 1

Assessment Requirements for CPCPMS3041 Install domestic solid fuel burning appliances

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPMS3041A Install domestic solid fuel burning appliances. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing at least two different domestic solid fuel burning appliances according to client, compliance, workplace and manufacturer requirements. Appliances may be for:

central heating

cooking

space heating

water heating

a combination of applications, which includes:

fireplace inserts

free-standing

in-built

non-tested

installing flue and associated flashings through a tiled and metal roof system.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

factors affecting selection of installation locations for appliances

factors affecting compliance and non-compliance of domestic solid fuel burning appliances

factors affecting optimum performance:

general cleaning and maintenance requirements

type and condition of fuel used in appliances

heat damage protection requirements for appliances:

compliant floor protection

compliant clearance distances

additional shielding

reduced compliant clearance distances

legislation, regulations and standards that apply to the installation and emissions of domestic solid fuel burning appliances

heat-response categories of construction materials:

heat sensitive

heat tolerant

heat resistant

installation requirements for different types of domestic fuel burning appliances:

appliances for:

central heating

cooking

space heating

water heating

combinations of applications

fireplace inserts

free-standing

in-built

non-tested

tested

principles and products of combustion

requirements and methods for maintaining structural integrity of buildings, roof structures and existing roof coverings

structure and function of flue elements and principles of flue draw, and effects of:

bends and horizontal sections

climatic conditions

surrounding buildings and trees

types of domestic solid fuel burning appliances and methods for safe operation

types and condition of wood used as fuel and impacts on:

efficiency of appliances

emissions

compliance requirements:

clearance distances to heat sensitive materials:

ceilings

curtains

furniture

timbers

walls

emissions compliance certification plate

manufacturer specifications

types and dimensions of floor protection.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad